Rinch Industrial Co., Limited

www.cnrinch.com  msn:goodluckvon@hotmail.com     cnrinch@yahoo.com.cn
TACHOMETER
Applicable to the production department of motor, fan, paper-product, plastics, chemical fiber, washing machine, automobile, airplane, steamer etc.

	TACHOMETER (PHOTO/TOUCH TYPE) 
[image: image70.png]


MODEL:DT-2236
MEASUREMENT RANGE
ROTATIVE VELOCITY:
2.5～99,999r/min (PHOTO)   0.5～19,999r/min (TOUCH)
SURFACE SPEED:0.05～1999.9m/min   0.2～6560ft/min
RESOLUTION:0.01/0.1/1    ACCURACY:±(0.05%n+1d)
MEMORY: MAX/MIN/LAST VALUE   POWER SUPPLY:4X1.5V AA(UM-3)BATTERY  DIMENSION:215X65X38mm　

	[image: image71.jpg]


TACHOMETER (LASER TYPE)

MODEL:DT-2234C
MEASUREMENT RANGE:5～99,999r/min
RESOLUTION:0.1/1
ACCURACY:±(0.05%n+1d)
MEMORY: MAX/MIN/LAST VALUE
POWER SUPPLY:4X1.5V AA(UM-3)BATTERY
DIMENSION:190X72X37mm　

	Model: GED-2600 Engine Tachometer

Application:

2-Circle( 1,2,3,4-cylinder )

4-Circle(1,2,3,4,5,6,8-cylinder)

Measurement range: 

Engine: 100-20,000 r/min   Laser: 2.5-99,999 r/ min

Detection method: 

[image: image72.jpg]MEMORY

HT-6850




Engine: Electromagnetic induction   Laser: Reflective light

Detection distance: 30-200mm, laser up to 2000mm

Resolution: 0.1/1      Accuracy: + (0.05%n +1d)

Memory: Max/Min/last value      Power supply: 4x1.5v AA(UM-3)Battery Dimension: 178x68x39mm


STROBOSCOPE
Measure the rotational speed of a rotating object and to inspect the defect on its surface without the need to adhere any mark to reflect the light, and thereby without the need to halt the object from its rotation.

	[image: image1.jpg]STROBOSCOPE

X
L

DT-2350P




Model：DT2350P 
Measurement Range：A：50~12000FPM 
                   B：50~40000 FPM 
                   C：50~20000 FPM 
                   D：50~30000 FPM 
                   E：50~2000 FPM（fit for print and textile） 
Display：5 10mmLED 
Accaracy：±（0.05%n+1d） 
Resolution：0.1 FPM（ Less 1000 FPM） 
              1 FPM（Over 1000 FPM） 
Sampling time：0.3second    2 ranges：H、L （High,Low ） 
Flash adjust：Coarse adjustment、fine adjustment , ×2 and ÷2 for fast check
Triggering Mode：Interior/Exterior   Temperature：0~40℃  Humidity：Less than 85%RH


ANEMOMETER
Used in production department of motor, fan, paper-product, plastics, chemical fiber, washing-machine, automobile, airplane, steamer etc.

	[image: image2.jpg]AM-4836C  ANEMOMETER




[image: image3.jpg]ANEMOMETER

AM-4836V  ANEMOMETER





Model:  AM-4836V  (Vane type) , without wind direction 

        AM-4836C  (3-cup type)

Display: LCD display

Parameters measured: Wind speed, Flow, Beaufort Scale, Wave, Temp., wind direction

Range: 

Wind speed:   0.4-30.0m/s    1.4-108.0km/h   80-5910ft/min   0.8-59.3 knots

Flow:      0.004-9999 m³/min                0.013-9999 ft³/min

B. Scale:   0-12 force    Wave:   0-14m

Direction indicator: 16 ways (the resolution is 22.5º)

Temp. : 0-60℃ / 32-140℉

Accuracy: ±2%n+2d

Resolution: 0.1/1

PC interface: RS232C (Cable & software are optional)

Can memorize 50 group data

Auto power off 

Power supply: 4x1.5V AA A (UM-4) battery

Battery indicator: low battery indicator

Dimensions: 156x67x28mm


SOUND LEVEL METER
It is used to measure the sound level of machines, vehicles, traffic, architecture acoustics, environment noise and electric noise.

	[image: image73.jpg]



Digital Sound level meter 

JTS-1357
HZ:  31.5-8k

dB: A:30dB-130dB

    C:35dB-130dB

	[image: image74.jpg]


Model: SL-5868P

Display: LCD display   Standard: IEC651 Type2, ANSIS1.4Type2

Parameters measured: SL, Leq, LN

Measuring range:

   A .30-130dB    C. 35-130dB   Line. 35-130dB

Detection characteristics:  Fast/Slow

Resolution:  0.1dB   Accuracy:  1dB  Built-in calibration signal: 94dB

Alarm setting: 30-130

Max. hold function

DC output: 0~2V D.C.    Alarm output: Electronic switch 

Note: D.C. output and Alarm output can only select either one.

     The default is D.C. output (A.C. is optional)

PC interface: RS232C (Cable & software are optional)

Can memorize 50 group data

Auto power off   Power supply: 4x1.5V AA A (UM-4) battery  Battery indicator: low battery indicator 


	[image: image75.jpg]


Sound Level Calibrator 

MODEL: ND 9 CALIBRATOR
STANDARD: ANSI S1.40 CLASS2, IEC942
OUTPUT SOUND LEVEL:94dB & 114dB
FREQUENCY:1000Hz+2.4%
DESIGN FOR:1",1/2"
POWER SUPPLY:9V 6F22 BATTERY
DIMENSION:145X47X47mm


MOISTURE METER
Applicable of wood fiber materials wooden articles, Chinese traditional medicine, tobacco, cotton and papers etc.

	[image: image76.jpg]


MOISTURE METER  MODEL:MC-7806 
MOISTURE CONTENT:0～50%
TEMPERATURE:-10～60℃
RESOLUTION:0.1
ACCURACY
MOISTURE:±(0.5%n+1)
TEMP.:±0.8℃




	[image: image77.jpg]


MOISTURE METER
MODEL:MC-7812 MEASUREMENT RANGE:0～80%
RESOLUTION:0.1
ACCURACY:±1%
CALIBRATION: AUTOMATIC
POWER SUPPLY:4X1.5V AAA BATTERY
DIMENSION:218X76X53mm　




GRAIN MOISTURE METER
Used for fast and accurate measurement of moisture and temperature in the process of allotment, acquisition, storage, machining of packed grains, feedstuff,powder.

	[image: image78.jpg]


GRAIN MOISTURE METER 
MODEL:MC7821 MEASUREMENT RANGE
MOISTURE CONTENT:8～20%   TEMPERATURE:-10～55℃
RESOLUTION:0.1    ACCURACY: MOISTURE:±0.6%（UNDER 14%),±0.8% (15%-18%)   ±1% (OVER 18%)   TEMP.:±0.8℃
GRAINS: PADDY, RICE, CORN, WHEAT,etc.
POWER SUPPLY:4X1.5V AA(UM-3)BATTERY
DIMENSION:178X68X39mm

	[image: image79.jpg]


 Model: MC-7825G

especially for grains  Measuring range: please see the table below

Resolution: 0.1    Display: LCD display   Accuracy: ±(0.5%n+0.1)

PC interface: RS232C (Software & communicating cable are optional)

Auto power off   Power supply: 4x1.5V AAA (UM-4) battery

Battery indicator: low battery indicator

Dimensions: 165x62x26mm

Weight (not including probe):119g


HUMIDITY METER
Widely used in workshops offices, plants, libraries, computer stations, laboratories and warehouse.

	HUMIDITY METER 
[image: image80.png]BT-1




MODEL: HT-6290 MEASUREMENT RANGE:
TEMP.:-10～60℃  HUMIDITY:10～95%RH
RESOLUTION: 0.1   ACCURACY   HUMIDITY:2.5%±1%RH
TEMP.:±0.5℃   MEMORY: MAX/MIN/LAST VALUE
POWER SUPPLY:4X1.5V AA(UM-3)BATTERY   DIMENSION:161X69X32mm　


	HUMIDITY METER 
MODEL: HT-6830 MEASUREMENT RANGE:
TEMP.:-10～65℃  HUMIDITY:10～95%RH  RESOLUTION: 0.1
ACCURACY   HUMIDITY:2.5%±1%RH
TEMP.:±0.5℃   MEMORY: MAX/MIN/LAST VALUE  POWER SUPPLY:4X1.5V AA(UM-3)BATTERY
DIMENSION:220X72X37mm　[image: image81.png]BT-2







DEW POINT METER
Widely used in workshops, offices, plants, libraries, computer stations, laboratories and warehouses.

	DEW POINT METER
[image: image82.jpg]ST-1




MODEL: HT-6292 MEASUREMENT RANGE:
TEMP.:-10～60℃   HUMIDITY:10～95%RH  DEW POINT:-60～60℃
RESOLUTION: 0.1  ACCURACY:  DEW POINT:±0.1℃  HUMIDITY:2.5%±1%RH
TEMP.:±0.5℃  MEMORY: MAX/MIN/LAST VALUE
POWER SUPPLY:4X1.5V AA(UM-3)BATTERY  DIMENSION:161X69X32mm　


	[image: image83.jpg]


DEW POINT METER 
MODEL: HT-6850 MEASUREMENT RANGE:
TEMP.:-10～65℃  HUMIDITY:10～95%RH  DEW POINT:-60～60℃  RESOLUTION: 0.1
ACCURACY: DEW POINT:±0.1℃  HUMIDITY:2.5%±1%RH  TEMP.:±0.5℃
MEMORY: MAX/MIN/LAST VALUE  POWER SUPPLY:4X1.5V AA(UM-3)BATTERY
DIMENSION:220X72X37mm


LUX METER
Used in electro-optical sources, research teaching, metallurgy building, industry inspection as well as agricultrure researching and illumination control

	[image: image84.png]


LUX METER 
MODEL: LX-9621 MEASUREMENT RANGE:0～ 50000LUX
RESOLUTION: 1
ACCURACY: ±5%n
POWER SUPPLY:4X1.5V AAA(UM-3)BATTERY
DIMENSION:132X64X34mm　


	[image: image85.jpg]


LUX METER 
 MODEL: LX-9626 MEASUREMENT RANGE:0～ 50000LUX
0～5000FC
RESOLUTION: 1
ACCURACY: ±5%n
POWER SUPPLY:4X1.5V AAA(UM-3)BATTERY
DIMENSION:132X64X34mm　 


Ultrasonic thickness meter

	[image: image4.jpg]




	Specifications
	Model
	TM-8812
	TM-8811
	TM-8810

	Measuring range
	Metric/Imperial
	1.2~225mm

0.05~9inch
	1.5~200mm

0.06~8inch
	1.5~200mm

0.06~8inch

	Operating principle
	ULTRASONIC

	Materials measured
	Any hard materials
	Only 11 types of materials

	Sound velocity
	500~9000m/s
	-

	Lower limit steel pipes
	Φ15×2.0mm, Φ20×3.0mm determined by the transducer

	Calibration block
	Included

	Resolution
	0.1mm

	Accuracy
	±(0.5%n+0.1)

	RS232C interface
	With RS232C
	

	Power supply
	4×1.5V AAA(UM-4)
	4×1.5V AA(UM-3) Battery

	Battery indicator
	Low battery indicator

	Operating conditions
	0~40℃/10~90％RH

	Dimension
	120×62×30mm
	160×68×32

	Weight(Not including battery)
	164g
	208g

	Standard

delivery
	Main unit
	1

	
	5MΦ10 transducer
	1

	
	Couplant
	1

	
	Instruction manual
	1

	
	Carrying case
	B04
	B01

	Optional

Accessories
	6MΦ6mm thin material probe
	Measuring range(steel)︰ 1.0~50.0mm

Operating temperature︰-10~+60℃

	
	5MΦ12

high temperature probe
	Measuring range(steel)︰1.0~225.0mm(normal temperature)

Measuring range(steel)︰4.0~100.0mm(high temperature)

Operating temperature︰-10~+300℃

	
	Cable & Software for

RS232C interface
	Available only for TM-8812


Coating thickness meter

	[image: image5.jpg]Cl-g825N Ci-aa2sF ci-gzem Cli-aszsr
Cli-sezs Ci-gazen






	Specifications
	Model
	CM-8825 in built probe(s)
	CM-8828

	
	
	CM-8826 with separate probe(s)
	

	Operating

Principle
	F TYPE
	CM-8825FM

CM-8826FN

(F & NF)
	CM-8825N

CM-8826N

(only NF)
	CM-8825F

CM-8826F

(Only F)
	(F & NF)

	
	NF TYPE
	
	
	
	

	Measuring  range
	0~1250um/0~50mil (default range)

	Resolution 
	0.1/110um or 0.5mil
	10um or 0.5mil

	Accuracy
	±1~3％n or ±2.5nm
	±3%n or ±10um or 0.5mil

	Min.radius workpiece 
	F︰Convex 1.5mm/Concave25mm N︰convex 3mm/ concave50mm

	Min.measuring area
	6mm

	Min.sample thickness
	0.3mm

	Metric/ImperiaL 
	Convertible 

	Power supply 
	4×1.5V AAA(UM-4)Battery 

	Battery indicator 
	Low battery indicator 

	Auto switch off 

	Standard

delivery
	Main unit
	1

	
	F type probe 
	1
	
	1
	1

	
	N type probe 
	1
	1
	
	1

	
	F calibration base set  
	1
	
	1
	1

	
	N calibration base set
	1
	1
	
	1

	
	Calibration foil se 
	1 set(4Foils)

	
	Carrying case
	B04

	
	instruction manual
	1

	Optional Accessories
	Cable & software for RS-232C

	[image: image6.png]N-5829 CN-88235






	Specifications
	Model 
	CM-8829(please specify probe type in built or

Separate while ordering)

	Operating principle
	F type
	CM-8829FN
	CM-8829N
	CM-8829F

	
	N type
	(F & NF)
	(Only NF)
	(only F)

	Measuring range
	0~1250um/0~50mil(default range)

	Resolution 
	0.1/1

	Accuracy 
	±1~3%n or ±2.5um

	Min.radius workpiece 
	F︰Convex 1.5mm/Concave 25mm
N︰Convex 3mm/concave 50mm

	Min.measuring area
	5mm

	Min.sample thickness
	0.3mm

	Metric/imperial
	Convertible 

	Power supply 
	4×1.5V AAA(UM-4)

	Battery indicator
	Low BATTERY indicator 

	Auto switch off
	

	Dimension
	124×62×30mm

	Weight (Not including battery)
	115g(CM-8829),200g(CN-8829S)

	Standard

delivery
	ain unit 
	1
	
	

	
	F type probe
	1
	
	1

	
	N type probe
	1
	1
	

	
	F calibration baes set
	1
	
	1

	
	N calibration baes set
	1
	1
	

	
	Calibration foil set
	4

	
	Carrying case
	B04

	
	instruction manual
	1

	optional Accessories
	Cable & software for RS-232C other ranges


	[image: image86.jpg]


CM8828 COATING THICKNESS METER 

Main features:designed specifically to meet the requirement of the auto mobile industry.only 1 button  integrated ferrous and non-ferrous probe automatic substrate recognition     Mil/um conversion   Mannual or automatic shut down    
Specifications: 

operating principle: Magnetic induction and eddy current  

measuring range: 0-1250µm/0-50mil     resolution: 10µm for Metric   0.5mil for imperial Accuracy: +3%n +10 or 0.5mil  Min.radius workpiece: 
F: convex: 1.5mm    concave: 25mm   N: convex: 3mm       concave:50mm

Min.measureing area:  6mm     Min. sample thickness: 0.3mm

power supply 4x1.5V aaa(UM-4)BATTERY  Standard Accessories:

Main unit  Calibration standards  Instruction manual  carrying case

Optional accessory：RS 232C cable data output for statistics and print.  including Average(MEAN) Max, Min, number of measurement(NO.)  STANDARD DEVIATION(S.Dev) 


HARDNESS TESTER

	[image: image7.jpg]]
4
HT-8510C 3
HT-6610A ' *°  HT-8510D





	Specifications
	Model
	HT-6510

	Model suffix
	A
	C
	D

	Product info
	Digital durometer for Shore hardness testing Pocket size model with integrated probe

	Test scale
	Shore Hardness

	Standards
	DIN53505,ASTMD2240,ISO7619,JISK7215

	Parameters displayed
	Hardness result,Average value,Max.Value

	Measurement range
	0-100HA(HC,HD)

	Measurement deviation
	＜1%H

	Auto switch off

	With RS232C interface

	Operating conditions
	0℃to 40℃

	Power supply
	4*1.5VAAA(UM-4)battery

	Battery indicator
	Low battery indicator

	Dimensions
	162*65*28

	Weight (Not including battery)
	173g
	160g

	Standard delivery
	Main unit
	1

	
	Carrying case
	B04

	
	Instruction manual
	1

	Optional Accessories
	Cable &software for RS232C interface


Surface Roughness Tester
	[image: image87.jpg]


Model: SRT-6210

Display 4 digits, 10 mm LCD, with blue backlight

Parameters: Ra, Rz, Rq, Rt

Measuring Range

Ra, Rq: 0.005-16.00um/0.020-62.99uinch

Rz, Rt: 0.020-160.0um/0.078-629.9uinch

Accuracy: Not more than ±10%

Fluctuation of display value: Not more than 6%

Sensor :

Test Principle: Inductance type   Radius of Probe Pin: 5µm

Material of Probe Pin: Diamond   Dynamo-measurement of Probe: 4mN(0.4gf)

Probe Angle: 90°    Vertical Radius of Guiding Head: 48mm

Maximum driving stroke: 17.5mm/0.7inch

Cutoff length (l): 0.25mm / 0.8mm / 2.5mm optional

Driving speed:

sampling length = 0.25mm Vt=0.135mm/s

sampling length = 0.8mm  Vt=0.5mm/s

sampling length = 2.5mm  Vt=1mm/s

returning               Vt=1mm/s

Profile digital filter

Filtered Profile: RC  Filtered Profile: PC-RC  Filtered Profile: Gauss  Non-Filtered Profile: D-P

Resolution:  0.001/0.01/0.1 um  Evaluation length: 5 cut-off  Power Li-ion battery rechargeable

Operating condition: Temp. 0~50  Humidity <80%   Size 140x52x48 mm (5.5x2.0x1.9 inch)

	[image: image88.jpg]=y



Model:SRT6200
* Multiple parameter measurement: Ra, Rz

* Highly sophisticated inductance sensor

* Built-in lithium ion rechargeable battery and control    circuit with high capacity  Can communicate with PC computer for statistics,    printing and analysing by the optional cable and the software for RS232C interface.

*Manual or automatic shut down. The tester can be     switched off  by pressing  the Power key at any time. 

   On the other hand, the tester will power itself off    about 5 minutes after the last  key operation.

2．SPECIFICATIONS

Display： 4 digits, 10 mm LCD, with blue backlight

Parameters:  Ra, Rz,  Display  Range  :           Ra:   0.05-10.00um/1.000-400.0uinch             Rz:   0.020-100.0um/0.780-4000uinch

Accuracy: Not more than ?0%  Fluctuation of display value: Not more than 6%

Sensor :           Test Principle: Inductance type           Radius of Probe Pin: 10um

   Material of Probe Pin: Diamond           Measurement Force of Probe: 16mN(1.6gf)           Probe Angle: 90°

    Vertical Radius of Guiding Head: 48mm  Maximum driving stroke:  17.5mm/0.7inch

Cutoff length (l): 0.25mm / 0.8mm / 2.5mm  optional   Evaluation length:  1~5 cut off  optional

Driving speed:           sampling length = 0.25mm   Vt=0.135mm/s

         sampling length = 0.8mm    Vt=0.5mm/s

         sampling length = 2.5mm    Vt=1mm/s

         returning                                Vt=1mm/s

Resolution : 0.001μm   if reading＜10μm   0.01μm    if 10μm≤reading＜100μm  0.1μm   if reading ≥100μm            Power Li-ion battery: rechargeable  Operating conditions:  Temp. 0~50℃         Humidity <80% 

Size：140x57x48 mm  (5.5x2.2x1.9 inch)     Weight: about 420 g 

	[image: image8.jpg]


　Gloss Meter
RC-038 Gloss Meter

Brief Introduction

TheRC-038 GLOSSMETER is complete according with state standard GB9754-88、GB9966.5 and international standard ISO2813, all items of the performance is reaching to the state JJG696-2002 (Lens Luster Degree Instrument Measure Test Regulations) the first class work requirements.  

Technology parameter  

　

RC-038
　

Projecting angle

20°60°85°

Applications

∵The surface luster measure for printing ink, oil paint, bake lacquer, coat, woodwork and others.  
∵ The surface luster measure for construction decoration materials: Marble; granite; glass chemical polishing brick, pottery brick 
∵ The surface luster measure for plastic, sheet 
∵ The surface luster measure for other non-metal materials 

Measure range

0~200Gu

Measure range

＜±0.4Gu/30min

Value error

＜±1.2Gu

Power 

DC1.5V×1

Environment temperature  

0℃~40℃

Relative humidity 

≤85%

Dimension

145×80×38mm



	[image: image9.jpg]



RC-048  (60 º) Gloss meter
Brief Introduction
The RC-048 GLOSS METER is complete according with state standard GB9754-88、GB9966.5 and international standard ISO2813, all items of the performance reach to the state JJG696-2002 (Lens Luster Degree Instrument Measure Test Regulations) the first class work requirements.  

Technology parameter  

 

RC-048
 

Projecting angle

60 º

Applications

∵The surface luster measure for printing ink, oil paint, bake lacquer, coat, woodwork and others.    ∵ The surface luster measure for construction decoration materials: Marble; granite; glass chemical polis hing brick, pottery brick and etc ∵ The surface luster measure for plastic, sheet and others ∵ The surface luster measure for other non-metal materials 

Measure range

0~200Gu

Measure range

＜±0.4Gu/30min

Value error

＜±1.2Gu

Power 

DC9V×1

Environment temperature  

0℃~40℃
Relative humidity 

≤85%

Dimension

114×70×38mm



	[image: image10.jpg]



RC-078 Laser Diameter Measuring Instrument
Features: 
•Laser two-dimensional scanning: Two bunches of lasers to do outer diameter measurement of non-contact ,non-damage from the different angle, it can effectively eliminate error caused by work vibration; 
•DSP data processing technique: The sampling speed is quick ,precision is high and the performance is stable; 
• The reaction control integration module with PID constitute the online outer diameter closed loop observation and control system (e.g.: diameter of the object measured is slight big or small, transmission rate is big or small), which can change the transmission rate to control the outer diameter be tested through adjusting the power supply  with PID. It’s easy to operate, user can setup a boundary numerical value, main engine will give an alarm automatically while the test result exceeds the set value. 
• It processes R485 communication interface, can be connected with PC machine and PLC and then composed into long-distance collection and distribution supervisory system, The transmission length may reach 200m 

 Introduction:

 

 

 

The RC-078 Laser Diameter Instrument is a high accuracy one without contacting designed on the basis of the laser scan measuring principle. The 2-dimension measuring mode is applied to the instrument, and the 2-way laser beam is in the positive cross design in the measuring field, thus effectively eliminating testing errors caused by work piece shocks. It is special suitable for real-time measurement of the production field, and widely used in the  test of round wire materials such as communication cables, optical cables, co-axial cables and power cables, and the test of various kinds of other round work piece diameters.

Technology Parameter: 

Measure Range(mm)

0.2~30

Measure Precision(um)

±2.0

Sensitivity(um)

1.0

Communication Interface

RS485

Feedback Output 
DC-2.5V~2.5V

Relative Humidity

no dew than 85% 

Environment Temperature

4℃~40℃
Power Consumption(W) 

＜50 

Scanning speed(m/s)

＞50 

Packing Specification(mm)  

Main Engine:441×170×546 

Product Allocation

Laser Diameter Measuring Instrument:1 unit; Calibrating stand:1 set 



	[image: image11.jpg]


RC-058 Window Tint Meter 

Brief Introduction

The RC-058 Window Tint Meter is mainly used to test the transmittance of automobile glass and transparent or semi-transparent objects. It is small in size and portable, so it is especially adaptable to field measuring.

Technology parameter  

Applications

∵Automobile making and test, field measurement of glass products and aerospace industry; ∵Measurement of the transmittance of glasses, sunglasses and anti-suntan protective films; ∵Measurement of the transmittance or haze of plastic products; ∵Measurement of the transmittance of other transparent or semi-transparent material

Measure range

0.0-100%

Measuring quantity

% optical transmittance

Maximum matrix thickness

10mm

Measuring accuracy

≤2%

Environment temperature  

5℃~40℃
Accuracy range 

5%~85%visible light transmittance

Optical detector

  complying with V(lambda) human eye sensitivity    



	[image: image12.jpg]


RC-068 Window Tint Meter
Brief Introduction

The RC-068 Window Tint Meter is mainly used to test the transmittance of automobile glass and transparent or semi-transparent objects. It is small in size and portable, so it is especially adaptable to field measuring.

Technology parameter  

Applications

∵Automobile making and test, field measurement of glass products and aerospace industry; ∵Measurement of the transmittance of glasses, sunglasses and anti-suntan protective films; ∵Measurement of the transmittance or haze of plastic products; ∵Measurement of the transmittance of other transparent or semi-transparent material

Measure range

0.0-100%

Measuring quantity

% optical transmittance

Maximum matrix thickness

10mm

Measuring accuracy

≤2%

Environment temperature  

5℃~40℃
Accuracy range 

5%~85%visible light transmittance

Optical detector

  complying with V(lambda) human eye sensitivity    



	[image: image13.jpg]


 Reflection Meter
RC-088 Reflection Meter

Brief Introduction 
This instrument is a special equipment for measuring the reflectivity of rearview mirror (or similar product) of motor vehicle. The product composes intelligent measuring instruments, optical integrating sphere, parallel lamp, standard light source, constant current source etc. It is easy to operate，it can measure the reflectivity quickly and accurately. On instrument structure, it adopts standardized modulation design. It takes latest single chip as its digital central processing element. After the measuring signal is converted by modulus, CPU will do some computation and compensation. The instrument can display the reflectivity of device which is measured in rear time. It operates simply and quickly, the indication is direct and accurate. It’s good for quality examination &control in the production scene as well as laboratories. This product has the convenience &quick demarcation way, can meet requirement of different occasion. It is applicable for measuring light reflection on mirror and not mirror parts. 

 Apply Scope: 

Applicable for measuring reflectivity of automobile, motorcycle’rearview mirror. 
Applicable for measuring light reflection on mirror and not mirror parts. 

Technology Parameter: 

Measure Range(reflectivity)

0~100%

Measure Precision

 Over 2% 

Measure Replication

Over 2%

Running Voltage: 

AC220/50Hz； 

Feedback Output

DC-2.5V~2.5V

Humidity: 

under no dew than 85% 

Environment Temperature

4℃~40℃
Power Consumption(W) 

＜30

Usage and Maintenance 

1、Keep the inner-wall of photosphere clean, do not touch the inner-wall by hand or hard object to avoid foreign matter falling into the sphere； 
2、The instrument should be placed in dry environment. Do not put it in moist and corrosive environment ,no vibrating and hitting fiercely; 
3、The instrument should carry on the demarcation regularly. While demarcating, the reflectivity of the standard reflector should approach the reflectivity of the product to be measured as far as possible; 
4、Do not turn on/off  the instrument continually. The time interval of turn on/off should not be less than 5 minutes; 
5、User should not process arbitrarily while breakdown that  the user is unable to process, please contact the production manufacturer immediately; 
6、We suggest using parameter voltage-stabilized source whose stable volt precision is not smaller than 1% for the instrument power supply. 




INFRARED THERMOMETER

	[image: image14.png]




	
	AR872D

	-50℃--1050..


			[image: image15.png]



AR872
-18℃～1250..
		[image: image16.png]



AR882
-18℃～1500..


	

	   GENERAL  FEATURES &  SPECIFICATIONS

	
	AR872D
	AR872
	AR882

	Temperature range
	-50℃~1050℃
0℉~1922℉
	-18℃~1250℃
0℉~2282℉
	-18℃~1500℃
0℉~2732℉

	Accuracy
	±2% or ±2℃
	±2% or ±2℃
	±2% or ±2℃

	Distance spot ratio
	16:1
	30:1
	50:1

	Emissivity
	0.10~1
	0.10~1
	0.10~1

	Resolution
	0.1℃or0.1℉(<1000℃)

1℃or1℉(≥1000℃)
	0.1℃or0.1℉(<1000℃)

1℃or1℉(≥1000℃)
	0.1℃or0.1℉(<1000℃)

1℃or1℉(≥1000℃)

	Response time & wavelength
	500ms&(8-14)um
	500ms&(8-14)um
	500ms&(8-14)um

	Repeatability
	±1%or±1℃
	±1%or±1℃
	±1%or±1℃

	Average and difference function
	√
	√
	√

	Max and Min function
	√
	√
	√

	High low temperature alarm setup
	√
	√
	√

	Data store/recall function
	√
	√
	√

	C/F selection
	√
	√
	√

	Data hold function
	√
	√
	√

	Laser target pointer selection
	√
	√
	√

	Backlight display selection
	√
	√
	√

	Auto power shut off
	√
	√
	√

	GENERAL  CHARACTERISTICS

	power
	9V Alkaline Battery
	9V Alkaline Battery
	9V Alkaline Battery

	LCD Size 
	44.0*37.5mm
	44.0*37.5mm
	44.0*37.5mm

	Product Color
	Yellow+Black
	Yellow+Black
	Yellow+Black

	Product Net Weight
	480g
	480g
	480g

	Product Size
	220*134*60mm
	220*134*60mm
	220*134*60mm


	[image: image17.png]



	[image: image18.png]



	[image: image19.png]




	AR842A
	AR852B
	AR862A

	-50℃--550℃
	-50℃--650℃
	-50℃--850℃


	

	   GENERAL  FEATURES &  SPECIFICATIONS

	
	AR842A
	AR852B
	AR862A

	Temperature range
	-50℃~550℃
0℉~℉
	-50℃~650℃
0℉~932℉
	-50℃~850℃
0℉~℉

	Accuracy
	±2% or ±2℃
	±2% or ±2℃
	±2% or ±2℃

	Distance spot ratio
	12:1
	12:1
	12:1

	Emissivity
	0.95
	0.95
	0.95

	Resolution
	0.1℃or0.1℉
	0.1℃or0.1℉
	0.1℃or0.1℉

	Response time & wavelength
	500ms&(8-14)um
	500ms&(8-14)um
	500ms&(8-14)um

	Repeatability
	±1%or±1℃
	±1%or±1℃
	±1%or±1℃

	Average and difference function
	√
	√
	√

	Max and Min function
	√
	√
	√

	High low temperature alarm setup
	√
	√
	√

	Data store/recall function
	√
	√
	√

	C/F selection
	√
	√
	√

	Data hold function
	√
	√
	√

	Laser target pointer selection
	√
	√
	√

	Backlight display selection
	√
	√
	√

	Auto power shut off
	√
	√
	√

	GENERAL  CHARACTERISTICS

	power
	9V Alkaline Battery
	9V Alkaline Battery
	9V Alkaline Battery

	LCD Size 
	37.0*35.0mm
	37.0*35.0mm
	37.0*35.0mm

	Product Color
	Dark Gray+Yellow
	Dark Gray+Red
	Yellow+Black

	Product Net Weight
	210g
	210g
	210g

	Product Size
	175*100*49mm
	175*100*49mm
	175*100*49mm


[image: image20.jpg]



	
	JT-280C
	JT-380C
	JT-520C
	JT-650C
	JT-850C
	JT-1100C

	Temperature Range
	20℃ ～ 280℃ (  -4 ℉ ～ 536℉)
	20℃ ～ 380℃ (  -4 ℉ ～ 716℉)
	20℃ ～ 530℃ (  -4 ℉ ～ 986℉)
	20℃ ～ 650℃ (  -4 ℉ ～ 1202℉)
	50℃ ～ 850℃ ( -58℉ ～ 1562℉)
	50℃ ～ 1100℃ ( -58℉ ～ 2012℉)

	Accuracy
	±2% or 2℃
	±2% or 2℃
	±2% or 2℃
	±2% or 2℃
	±2% or 2℃
	±2% or 2℃

	Distance Spot Ratio
	8:1
	8:1
	12:1
	12:1
	12:1
	12:1

	Emissivity
	0.95
	0.95
	0.95
	0.95
	0.1 to 1.0 adjustable
	0.1 to 1.0 adjustable

	Response Time & Wavelengt
	500ms & (8-14)um
	500ms & (8-14)um
	500ms & (8-14)um
	500ms & (8-14)um
	500ms & (8-14)um
	500ms & (8-14)um

	Repeatability
	±1% or±1℃
	±1% or±1℃
	±1% or±1℃
	±1% or±1℃
	±1% or±1℃
	±1% or±1℃

	Resolution
	0.1℃ or 0.1℉
	0.1℃ or 0.1℉
	0.1℃ or 0.1℉
	0.1℃ or 0.1℉
	0.1℃ or 0.1℉
	0.1℃ or 0.1℉

	Avg/Dif Temperature Measurement
	
	
	
	
	√
	√

	Max/Min Temperature Measurement 
	
	
	
	
	√
	√

	High/Low Temperature Alarm Setup
	
	
	
	
	√
	√

	℃/℉ Selection
	√
	√
	√
	√
	√
	√

	Data Hold Function
	√
	√
	√
	√
	√
	√

	Laser Target Pointer Selection
	√
	√
	√
	√
	√
	√

	Backlight Display Selection
	√
	√
	√
	√
	√
	√

	Auto Power Shut Off
	√
	√
	√
	√
	√
	√

	Low Battery Indication
	√
	√
	√
	√
	√
	√

	Power
	9V Battery
	9V Battery
	9V Battery
	9V Battery
	9V Battery
	9V Battery

	Product Color
	Yellow + Grey
	Yellow + Grey
	Yellow + Grey
	Yellow + Grey
	Yellow + Grey
	Yellow + Grey

	Standard Quantity Per Carton
	20
	20
	20
	20
	20
	20

	Standard Carton Size
	46.5*30*26cm
	46.5*30*26cm
	46.5*30*26cm
	46.5*30*26cm
	46.5*30*26cm
	46.5*30*26cm

	Standard Carton Gross Weight
	7.7 kg
	7.7 kg
	7.7 kg
	7.7 kg
	7.7 kg
	7.7 kg

	Minimium quantity
	10pcs
	10pcs
	10pcs
	10pcs
	10pcs
	10pcs


Vibration tester and monitoring system
[image: image89.jpg]


HG-2500 series Pocketable Vibration Temperature Meter 

    PECULIARITY AND USAGE Designing for the HG-2500 series of instrument draws on the advancde experience from the international pocketable diagnosis instrument with peculiarity of low power consumption,trustworthy properties,high accuracy,beautiful contour,using and carrying very handy etc. Made according to ISO-2954 standard.You can judge the running state of a machine according to the intemational vibration intensity standard(ISO-2372) which has been printed on the back of the instrument. 

When measuring vibration,as the instrument provides you with a special function of high-low frequency grade,it is possible to determine the equipment hitch types.

The new worldwide originally creative type HG-2508 can measure vibration and temperature of liquid or the surface of solid.The new added function of measuring temperature is more helpful for diagnosing hitches of a machine.

it is suitable in factories,mines and enterprises for on-the-spot hitch diagnosis and vibration or temperature measure of the rotating machines as steam turibines,blowers,compressors,motorsm,pumps and machine tolls etc.

SPECIFICTTIONS
[image: image21.jpg]Vibration Range:Acceleration:0.1~199.9m/'s’ Peak
Velocity:0.01-19.99cmis RMS
Displacement.001~1.999mm P-P

Frequency Range: Frequency lower limit: 5Hz or 10Hz

Frequency higher limit: 1KHz or 10KHz (only.

acceleration)
Temperature Measurement Range:0-~ 150°c
Display: + 34L.CO digts. Display Period:1s

Accuracy:vibration & 5% + 2end digits
temperature £ 1%+ 1 end digit
Hold Function: When the MEAS button is released, the measuring value
remains displayed and the meler will tum off automatically
after one minute delay.
Signal Output: AC 2V (Peak)
Power Source: One Battery (IEC 6722 9V) Batery LifeApprox. 25hrs
under continual use
Operating Conditions: Temp: 050 Humidiy: Below 90%RH
Dimensions and Weight: 185 x 68 x 30(mm) 195g (including battery)
Standard Equipment: Meter Conductor, Acceleration sensor, Battery
Temperature sensor (Only HG-2508),Instruction
P . —





Model selection
	[image: image22.png]Model  |Accaleraion Sensor Cannecton| Frequercy Rarge| measurement Range
HG-2502 Integrative (basic) 10Hz~ 10KHz -
HG-2502A | Integrative (LowFrequency) | 5Hz~10KHz -
HG-2504 Detached (basic) 10Hz~ 10KHz| -

HG-2506 | Detached (LowFrequency) | 5Hz~10KHz -
HG-2508. Detached (basic) 10Hz~10KHz 0~150°C
HG-2508A | Detached (LowFrequency) | 5Hz~10KHz 0~150C

HG-250X Equipment Data Management software(selective)can manage the.

measured data and analyze the status trend.







[image: image90.jpg]


HG-2510 Bearings Vibration Meter 

     DETECTING VIBRATION INTENSITY OF EQUIPMENT Vibration Detection of Machinery Equipment Hitches of rotary machinery will result in abnormal vibtation.Increasing of low fre quency vibration intensigy can be caused by unbalance of rotor,nonaxiality of rotating axis,looseness of base and iol membrane vibration of bearings.By using the Low Frequency(Lo)rade,you can measure low frequency vibration Speed Effectiove Value(RMS)and diagnose abnormal causes of low frequency as well as hitches. 

Specifications[image: image23.jpg]Display:34.CD digits
Measuring Range: Effective Value of Speed (Lo RMS ) 0.0~199.9mm/s
Average Value of Acceleration (Hi AVE ) 0.0~19.99
Single Peak Value of Acceleration (Hi PEAK ) 0.0~199.9
Frequency Range: Lo: 5Hz~1kHz
Hi: 32kHz (Centre Frequency) + 2KHz
Accuracy (Speed): + 5% + 2 end digits
Power Source: one 6F22 battery (9V) (continual use for 30 hours)
Dimensions: 185 x 72 x 32(mm)
Weight: 196g




Bearings state analysis

Hitch Detection of Ball Bearings and Gears

Imapct and high frequency resonance can be aroused by abnormal state of ball 

bearings.By using the "High Frequency(Hi)"grade,you can measure the peak 

value(PEAK)and the average (AVE) of impact vibration,so as to find hitches 

of bearings and gears or judge the running state.
[image: image91.jpg]PR
rf' 4




HG-3568 Series Diagnose system of On-site Dynamic Balance 

HG- Series on-site dynamic balancing apparatus has the functions of on-site Single&Double Sides dynamic balance.The instruments have the function of vibration analysis :including time-domain analysis,frequency-domain analysis,probability analysis,shaft's center track analysis,3-dimensions rev spectrum.The instruments can store the processing data of test and balance of many devices,and will reduce over 90% imbalance in mere one time.It adapts to rigid rotor. 

The software of analyzing management in mere one time.It adapts to rigid rotor.The software of analyzing management can calculate added mass and the angle,give the result.What's more,it can store,manage and print the data of dynamic balance emendation.

Function

[image: image24.jpg]Vibration analysis: The instruments can collect vibration real time and analyze
the spectrum, display the vibration speed and displace-
ment amplitude of 0.5, 1, 2, 3 multiple of machine work-

frequency, that will be helpful to judge if the machine is
imbalance.
Vector analysis: The instruments can analyze the added mass to make the
fixing easier.
Balance method: Trial mass balancing.impact coefficient balancing are available.
Data communication: The instruments have RS232 interface, can transmit
data with computer.




Technial Index

[image: image25.jpg]Vibration:Signal frequency band of virtual vibration. SHz=1KHz
XConditioning parameter of tested vibration.
Virtual value of vibration velocity signal (Vms)
Peak value of vibration displacement (Dp-p)
speed signal amplitude spectra (12X, 1X. 2X. 3X work frequency)
displacement signal amplitude spectra (1/2X. 1X. 2X. 3X work
frequency)

Measurement accuracy : + 5% + 2 end digits
Range of display of vibration quantity of state .
vibration speed signal: 0.01~204.69mm/s
vibration displacement signal; 0.1~2046.9um
Rotate:
Measurement range : 60~20000r/min
Measurement accuracy: + 019+ 1 end digit
Memory: 128K(100 groups balance data)
Display: 128X64 liquid crystal, have back light.
Power supply: 6~9V DC, have storage battery, can work 6 hours continually.




Model selection
	[image: image26.jpg]Nodel | Chamnels | Fortable [CollectionfCollection | oo o
computer | case | method
HG-3538B| 241  |selective| - e
channel

On-site

spectrum

analysis and

HG-3638 | 21 |selective| — balance data

nmanagenent







[image: image92.jpg]


 
HG-6800 Series AC and DC Motor's Fault Diagnose Instrument
 HG-6800 series motor's fault diagnose instrument apply "I/F"Medthodology.By doubling the frequency of a given voltage in a pure inductance coil,the current is halved.Through this method we can quickly and accurately measure the character of motor's coils and status of phase balance.Simultaneity our instruments provide the functions of insulation to ground testing,power factor tesing,capacitance testing etc.We can test motor through remote testing through power supply.Then we are able to resolve the problem without guesswork.
Turn off timing,low power design,larger capacity recharge battery,auto indicator for low voltage,portable Design.
[image: image27.jpg]Testing Range
Impedance(2)
Inductance(L)

Capacitance(C):
Power factor(d):

Insulation to ground:
Insulation Reads:

Stze
Weight:

310000

): 0.28mH~1.8H

60nF~100uF
0~90°

0w 0
HG-6801/6802:0~20MQ
> 20MQ tthe highest bit shows “1"
HG-6803:0~200MQ

> 200Mxthe highest bit shows *1

185 X 100 X 45(mm)
600g





[image: image28.png]Model

Function HG6801 | HG6802 |HG-6803
Phase Balance Testing v v v
fior_Between Cols Testing
'Ac_Motor Testing
Dc_Motor _Testing v v v
Colls And Turns v
Remote _Testing V4 ~ ~
Insulation Testing 4 V4
Capacitance Testing — v v
Power_Factor Testing =
Testing Voltage (V) 1000 1000 2000





[image: image93.jpg]TPM-10A





HG-2800 serial online vibration monitor 

 HG-2800 single-track online vibration tester is one of simple system dedicated to use for online monitor while equipment vibration. It can make long-term online monitoring for displacement, speed and acceleration while vibration from each set of rotation mechanical equipment, and features over-limit alarm function. This applies for simple online monitoring for equipment vibration status such as varied sets of air blower, electric motor, pump, steam turbine, air compressor and machine tool used in industrial and mining enterprise.  

Moreover, this also can diagnose and distinguish from equipment failure type under monitored value from different vibration parameters, so it is one kind of low-cost vibration online monitoring solution.

Performance index 

■ Sensor type: current sensor or voltage sensor 

■ Max signal distance for sensor : 400(m)

■ Test scope for acceleration: 0.1～199.9m/s2(0～P)

■ Test scope for speed : 0.1～199.9mm/s(rms)

■ Displacement test scope: 0.001～1.999mm(P～P)

■ Vibration frequency scope: low frequency: 10Hz～1KHz(acceleration, speed and displacement);high frequency: 1KHz～10KHz(acceleration)

■ Alarm setup: Free setup 

■ Alarm output: DC5V or 12V

■ Power supply: AC220V
	[image: image29.jpg]



	[image: image30.png]



	  [image: image31.png]




 INCLUDEPICTURE "http://english.bcae.com.cn/images/5603.gif" \* MERGEFORMATINET [image: image32.png]




 INCLUDEPICTURE "http://english.bcae.com.cn/images/5604.gif" \* MERGEFORMATINET [image: image33.png]Lo







HG-5600 Monitoring Instrument for Locomotive Turbocharger
Developed by Chinese Academy of Carrier Rocket technology

Introduction
Along continual speed acceleration for train, and massive accidental occurrence in locomotive damage arising from locomotive turbocharger failure, how to effectively monitor and prevent from failure for locomotive turbocharger has been to desiderate settled down in each railway bureau and each internal-combustible engine central office. HG5600 locomotive turbocharger failure instrument is right test and diagnosis system researched and made under such demand.
It can simultaneously inspect two turbochargers on one set of internal-combustion locomotive. Inspection content includes high- and low-frequency vibration, rotation speed, coasting time and relative parameters, and structures unique integral diagnosis data based upon massive verifications and set up its threshold value for this, it facilitates with this instrument to make dynamic judgment for status and basic failure place for locomotive turbocharger, as well as hold back locomotive with turbocharger failure into warehouse, so as to avoid any locomotive damage in the course of application.

Performance
Vibration measure tolerance: less than 5%
Rotation speed measure tolerance: less than 2‰
Coasting drifting time measure tolerance is not over one second.
Status diagnosis accurate rate: over 75%
Specification
Vibration measure channel: 2*2
Vibration measure frequency response scope: 0.5～30KHz
Vibration measure data: acceleration, speed and displacement 
Hardware signal process: parallel gain control, high pass wave-filtration, low pass wave-filtration, integral and mix-proof wave-filtration.
Dynamic scope: 14bit A/D and 84dB
Analysis frequency :100Hz～30KHz
Quantity of spectrum line: 400, 800, 1600 and 3200
Rotation speed measure channel: 1×2
Rotation speed measure scope: 30～180000r/min
Storage space: Over 500M
Digital transmission: U disc and Ethers gate 
Display: 6.4 ' color liquid crystal and touch display 
Power supply: AC/DC, charged battery, one-time application for 4h 
Volume: 252×210×54
Weight: 2.6Kg
This has been successfully used in Shanghai Railway Bureau, Jinan Railway Bureau, Urumchi Railway Bureau and Tianyuan Railway Bureau etc.


	
	[image: image34.jpg]


Vibration Meter

	
	Specifications
	Model
	VM-6320
	VM-6310

	
	Acceleration 

(Peak value)
	Bandpass filter
	10Hz to 1KHz
	0.1-200m/s2
	

	
	
	
	10Hz to 10KHz
	
	

	
	Velocity(RMC)
	
	10Hz to 1KHz
	0.1-200(mm/s)
	0.1-200(mm/s)

	
	Displacement 

(Peak to peak)
	
	10Hz to 1KHz
	0.001-2.0(mm)
	

	
	Accuracy
	<5%

	
	Auto power off

	
	Max Hold
	0- +40℃(32°F-104°F),≤90%RH

	
	Operating conditions
	

	
	Power Supply
	4*1.5v AA(UM-3)battery

	
	Battery Indicator
	Low battery indicator

	
	Dimensions
	160*68*32mm
	

	
	Weight(Not including Battery)
	181g

	
	Standard delivery
	Main unit
	1

	
	
	Carrying case
	B01

	
	
	Powerful rare earth magnet
	1

	
	
	Piezoelectricity Transducer
	1

	
	
	Instruction Manual
	1

	
	Optional Accessories

	
	Vibration Meter[image: image35.jpg]



Specifications

Model

VM-6360

Model suffix

Standard

P

Acceleration 

(Peak value)

Bandpass filter

10Hz to 1KHz 

10Hz to 10KHz

0.1-200m/s2 

0.3-656.2ft/s2

20.1-400m/s2 

0.3-1312ft/s2

Velocity(RMC)

10Hz to 1KHz

0.1-8.0inch/s

0.1-400(mm/s) 

0.004-16.0inch/s

Displacement 

(Peak to peak)

10Hz to 1KHz

0.001-2.0(mm) 

0.04-80mil

0.001-4.0(mm) 

0.04-160mil

RPM(Revolution)

5-100,000r/min

Frequency

0.1 to 10KHz

Accuracy

<5%

Metric/Imperial Conversion

Max Hold

Auto power off

With RS232c interface

Regulated output

AC output2.0v peak full scale

Operating conditions

0℃-45℃
Power Supply

4*1.5v AAA(UM-4)battery
Battery Indicator

Low battery indicator

Dimensions

124*62*30mm

Weight(Not including Battery)

120g

Standard delivery

Main unit

1

Carrying case

B04

Powerful rare earth magnet

1

Piezoelectricity Transducer

1

Instruction Manual

1



	
	Optional Accessories   Cable and software for RS-232C Headphone aselectronic stethoscope


Thermometer

[image: image94.jpg]TPM-10B




Digital Thermometer->BT-1
●Display Indoor and outdoor temperature simultaneously 
●Switch between ℃/F 
●Max./Min. temperature value memory
●Max./Min. temperature value recovery function
Technical parameters:
●Measuring range: Indoor temperature -30℃～+50℃(-22F～122F)
Outdoor temperature -50℃～70℃(-58F～158F)
●Resolution:0.1℃
●Power supply: one 7# Alkaline battery
Instruction:
●Display current temperature value when install the battery.
●Min Key: press it then display the Min. memory value
●Max key: press it then display the Max. memory value
●Reset key: under Min/Max. modes, press "Reset" then the former memory value returns to the current value.
●℃/F: under ℃ mode to display Celsius; under F mode to display Fahrenheit
[image: image95.jpg]TPM-20

DIGITAL THERMOMETER.




 Digital Thermometer->BT-2
● Measure and display the indoor/outdoor temperature and indoor humidity
● Automatically memorize the Max./Min. values of the indoor/ outdoor temperature and indoor humidity
●Switch between℃ / ℉
● Clock function and alarming function
●12/24 hour mode switch
● 8 minutes snooze function
● Recovery function on the Max./Min. values
Technical parameters:
● Indoor temperature measuring range: -30℃～+50℃(-22℉～122℉)
● Outdoor temperature measuring range: -50℃～+70℃(-58℉～158℉)
● Indoor humidity measuring range: 20%～99% (Relative humidity)
● Resolution: Temperature:0.1℃; Humidity: 1% RH
● Power supply: one 7# alkaline battery
● Operation environment: Temperature:0℃～50℃; Humidity: 5%～85% RH
[image: image96.jpg]MT-2




Digital Thermometer->ST-1                                 LCD display. One place measurement. Fashionable & mini-size design.                                                  Temperature range: -50℃∽+70℃ 
Distinguish: >-20℃ is 0.1℃,≤-20℃ is 1.0℃ 
Accuracy:±1℃    Power: DC1.5V, battery AG13 
Product size: 55×42×16mm    Screen size: 27×13mm
[image: image97.jpg]


Digital Thermometer->ST- 2                                in / out temperature measurement. Clock function display. Super-thin design.  
Measurement range: -50℃∽+70℃ 
Distinguish: >-20℃ is 0.1℃
                     ≤-20℃ is 1.0℃ 
Accuracy:±1℃   Power: DC1.5V, battery LR44 
Product size: 56.5×37.8×11.3mm    Screen size: 46.7×21.2mm
[image: image98.jpg]DT-2




Digital Thermometer->ST-4       Switch between Celsius and Fahrenheit In and out temperature measurement, fashionable appearance, small and exquisite, suitable for aquarium and refrigerator.  Measurement range: -50℃∽+70℃ 
                                    (-58℉∽+158℉)
Distinguish: >-20℃ is 0.1℃
                     ≤-20℃ is 1.0℃
Accuracy: ±1℃(±2℉)   Power: DC1.5V, AG13   Product size: 63×45×13mm    Screen size: 36×16mm
[image: image99.jpg]DT-3




Digital Thermometer->TPM-10      LCD display . Insert  panel. simple appearance, two button batteries, used for longer time. Measuring range: -50℃∽+70℃      Distinguish: 1℃
Accuracy: ±1℃(±2℉)   Power: DC1.5V AG13
Product size: 47.8×28.5×14.3mm   Screen size: 36×16mm
[image: image100.jpg]WEIGHTING

DEL

SL-5868P

SOUND LEVEL METER




 Digital Thermometer->TPM-10A
Two-digital LCD display . Insert  panel. simple appearance, install easily, two button batteries, used for longer time. Measuring range: -50℃∽+70℃ 
Distinguish: 0.1℃   Accuracy: ±1℃(±2℉)   Power: two batteries (DC1.5V AG13) Product size: 47.8×28.5×14.3mm   Screen size: 36×16mm
[image: image101.jpg]


 Digital Thermometer->TPM-10B
Insert panel, 12V DC power supply, two place temperature measurement, switch between Celsius and Fahrenheit, clock, operation by key.  Temperature range: -50℃∽+70℃ 
                                     (-58℉∽+158℉)
Distinguish: 0.1℃   Accuracy: ±1℃(±2℉)   Power: DC12V       Product size: 49×31.8×15.6mm    Screen size: 35×13mm
[image: image102.png]


Digital Thermometer->TPM-20    LCD display . One place temperature measurement, and novel appearance, install easily, Suitable for car-refrigerator and freezing cabinet.    Measuring range: -50℃∽+70℃                                        (-58℉∽+158℉)     Distinguish: 0.1℃
Accuracy: ±1℃(±2℉)   Power: DC1.5V 7# alkaline battery(optional)
Product size: 72×32×26.5mm    Screen size: 44.5×14.5mm
[image: image103.png]DST-10




 Digital Thermometer->MT-1
Big screen LCD display. Two-place temperature display. Switch between C and F Clock function.
Arched panel with beautiful appearance. Measuring range: -50℃∽+70℃   Distinguish: 0.1℃   Accuracy: ±1℃
Power: DC1.5V AG13   Product size: 103×44×15mm
Screen size: 35×24mm
[image: image104.jpg]


 Digital Thermometer->MT-2
Display temperature. humidity, time and calendar. Max/min temperature. humidity memory and comfort display. Switch between C and F.   Measuring  range: 
      Temperature:  -5℃∽+70℃       Humidity: 30%~90%
Distinguish: 0.1℃  Power: DC1.5V AG13  Product size: 103×44×15mm
Screen size: 35×24mm
[image: image105.jpg]


 Digital Thermometer->DT-1     Big screen LCD display. Two-place temperature measurement. Lengthen probe down-lead Three kinds of placement.  Measuring  range: -50℃∽+70℃ 
Distinguish: >1℃  Accuracy: ±1℃(-30℃∽+50℃)
Power: DC1.5V   7# alkaline battery (optional)   Product size: 115×64×19mm  Screen size: 63×43mm
[image: image106.jpg]


 Digital Thermometer->DT-2
Big screen LCD display. Two-place temperature measurement. Displays temperature. humidity and time simultaneously. Comfort display and clock function. Three kinds of placement.
Measuring  range:
          Temperature: -50℃∽+70℃            Humidity:20%~99%
Distinguish: Temperature:0.1℃  Humidity: 1%  Power: DC1.5V  
7# alkaline battery (optional)   Product size: 115×64×19mm   Screen size: 63×43mm
[image: image107.jpg]


 Digital Thermometer->DT-3  Big screen LCD display. Display Two-place temperature,  one-place humidity simultaneously. Comfort display. Three kinds of placement. Measuring  range: 
                      In:-30℃∽+50℃ 
                     Out: -50℃∽+70℃
Temperature range:20%~99%
Power: DC1.5V  one 7# alkaline battery (optional)
Product size: 115×64×19mm Screen size: 63×43mm
[image: image108.jpg]


 Digital Thermometer->WT-1   Pen style, stainless steel sensing tips, direct measuring, portable, wide me-asuring range, applied to refrigerant, heating and food processing etc...
Measuring  range: -50℃∽+300℃    (-58℉∽+572℉)
Distinguish: 0.1℃  
Accuracy : ±1℃(-20℃~+80℃)  ±5℃(other range)
Power: DC1.5V AG13 button battery   Product size: 20.5×206mm Screen size: 21×8mm
[image: image109.png]


 Digital Thermometer->WT-2     Fashionable appearance, stainless steel sensing tips, lengthened wire, box design, convenient to store, inner bracket, wide measuring range, applied to industry, agricuture and refrigerator etc...
Measuring  range: -50℃∽+300℃ (-58℉∽+572℉)
Distinguish: 0.1℃
Accuracy : ±1℃(-20℃~+120℃)  ±5℃(other range)
Power: DC1.5V  7#alkaline battery (optional)
Product size: 107×66×24mm
Length of prope pole is 198   Screen size: 33.5×14.5mm
[image: image110.png]


 Digital Thermometer->DST-10
Full closed moisture proof disposal; insert panel design; sun-energy battery and chargeable battery; free maintenance for a long time; adapt to refigerator and chill cabinet.    Temperature measuring range: -50∽ +70℃
Display resolution: 0.1℃
Accuracy: ±1℃(-10∽ +20.0℃) others ±2℃
Sampling period: 10s
Sensor conducting wire: 1.5m   Power supply: solar cell supplying power
Using environment: illuminance: ≥200Lux;    humidity: 5∽85%; temperature: -10∽ +45℃   Dimension: 140×36×16mm;
[image: image111.png]


Model: TM1310

1 inputs

Measuring range: -50-1300℃  -58-2372℉
Data hold: max/min/value   Resolution: 0.1/1

Accuracy: ±0.3%n+1℃   Display: LCD

Power supply: 4x1.5V AA (UM-3) battery

Battery indicator: low battery indicator

Dimensions: 220x77x43mm    Weight (not including probe): 174g
[image: image112.png]


DR-200A Temperature Recorder
Functions and features:
DR-200A Temperature Recorder is widely used for the storage and transportation of the foodstuff,medicine,fresh and live goods. It is used in the industries which are accordant with HACCP System Certificate as well. Furthermore, it can be used in locales where need Temperature supervision, such as labs. It has features as following: reliable performance,large data recording capacity,high accuracy,easy-to-use,passwords protection,alarming and recording parameters adjustable, data reservation after electricity being cut off, etc.
Specification:
◆ Panel size: 144×144 (mm)   ◆ Installing size: 131.5×131.5 (mm)
◆ Whole product size: 144×144×83 (mm)
◆ Temperature measuring range: -40℃～+110℃
◆ Accuracy: ±0.5℃ when at -10℃～+85℃, ±1℃ at others
◆ Resolution: 0.1     ◆ Alarming Temperature Difference: 0～20℃ (adjustable)
◆ Alarming output: buzzer + alarming relay
◆ Recording cycle: 1Min～24Hours (adjustable)
◆ Recording and measuring ways: one way
◆ Printing output: 232 interface connectting to printer for output
◆ Power Supply: 12V AC or 12V DC   ◆ Start-up delay: 0～6 hours (adjustable)  

◆ Alarming delay: 0～90 minutes (adjustable)  ◆ Recording capacity: 3000 points (MAX.)
◆ Alarming relay contact capacity: 10A/220VAC, 5A/30VDC
◆ Sensor: Integrated temperature sensor
Error status:
Probe error: Blinkingly displays error code EE with buzzer alarming when sensor occurs short circuit or open circuit. FAULT indicator light on.
Alarm when exceeding temperature limits: the displaying values blink with buzzer alarming when measuring temperature ≥ setting temperature + alarming temperature difference or measuring temperature ≤ setting temperature - alarming temperature difference, ALARM indicator light on, press any key to cancel alarming sound.
Exceeding upper measuring limits: Blinkingly displays HH with buzzer alarming, ALARM indicator light on, press any key to cancel alarming sound. Alarming sound is canceled when 2AXX is 0.
Exceeding lower measuring limits: Blinkingly displays LL with buzzer alarming, ALARM indicator light on, press any key to cancel alarming sound.
Alarming output: Relay contact output
[image: image113.png]


DR-200B Temperature Recorder
Functions and features:
DR-200B Temperature Recorder is widely used for the storage and transportation of the foodstuff,medicine ,fresh and live goods. It is used in the industries which are accordant with HACCP System Certificate as well. Furthermore, it can be used in locales where need Temperature supervision, such as labs. It has features as following: reliable performance,large data recording capacity,high accuracy,easy-to-use,passwords protection,alarming and recording parameters adjustable, data reservation after electricity being cut off, etc.
◆ Panel size: 144×144 (mm)   ◆ Installing size: 131.5×131.5 (mm)
◆ Whole product size: 144×144×83 (mm)
◆ Temperature measuring range: -40℃～+110℃
◆ Accuracy: ±0.5℃ when at -10℃～+85℃, ±1℃ at others
◆ Resolution: 0.1    ◆ Alarming Temperature Difference: 1～20℃ (adjustable)
◆ Alarming output: buzzer + alarming relay ◆ Recording cycle: 1Min～24Hours (adjustable)
◆ Recording and measuring ways: one way
◆ Printing output: Mini-type thermal printer output
◆ Power Supply: 12V AC~24 V AC or 12V DC~24V DC
◆ Start-up delay: 0～6 hours (adjustable) ◆ Alarming delay: 0～90 minutes (adjustable)
◆ Recording capacity: 4500 points (MAX.)
◆ Alarming relay contact capacity: 10A/220VAC, 5A/30VDC
Error status:
Probe error: Blinkingly displays error code EE with buzzer alarming when sensor occurs short circuit or open circuit. ERROR indicator light on.
Alarm when exceeding temperature limits: the displaying values blink with buzzer alarming when measuring temperature ≥ setting temperature + alarming temperature difference or measuring temperature ≤ setting temperature - alarming temperature difference, ALARM indicator light on, press ▼ to cancel alarming sound. No alarm when alarming temp. difference is 0.
Exceeding upper measuring limits: Blinkingly displays HH with buzzer alarming, ALARM indicator light on, press ▼ to cancel alarming sound. 
Exceeding lower measuring limits: Blinkingly displays LL with buzzer alarming, ALARM indicator light on, press ▼ to cancel alarming sound.
Alarming output: Relay contact output
[image: image114.png]


RC-20/20A/20B is a series of temperature data logger with high performance versus lower price ratio, which can exchange data with computer by USB port, low power consumption, power supplied by lithium battery and also can be supplied by the computer through the USB port when connected to the computer. NTC sensor, start up the recording function by key operation, current working status displayed by indicator light glistening times, recording cycle adjustable, alarm temperature upper and lower limit can be set. The data software possesses data analysis function, it lists files of type not only can show the data and draw the curve analyses graphs, but also can show alarm signal of the temperature exceeding point. The recorded data can be inquired, saved, printed and output in Word format. It is mainly used in locales such as refrigerator cars, deepfreeze, labs, greenhouses, storage for tobacco, bavterin and blood, workshops, hospital, GMP medicine workshops, agricultural seed cultivation, incubator, born, museum, archives, cultural relic, paper making, air-conditioner, etc. 

◆Temperature measuring range: External sensor:-40℃～70℃ Internal sensor: -30℃～50℃
◆Accuracy: ±0.5℃ when at -20℃～20℃; at other range, ±1℃    ◆Resolution: 0.1
◆Recording cycle: 2Seconds～24Hours continuously set, or automatically 
dustributed as per recording duration        ◆Sensor: NTC
◆Real-time transfers: the Interval time (10s~ 24h) adjustable
◆Recording capacity: RC-20: 3900 points RC-20A: 8000 points 
RC-20B: 16000 points
◆Applicable environment: Temperature: -30℃~50℃ Humidity:15%~85%
◆Data output: Connect the computer with the USB port to transfer data
◆Safe level:IP65。

[image: image115.jpg]


RC-30/RC-30A/RC-30B is a series of Temperature data logger with high performance versus price ratio and big LCD to display working status, exchange data with computer by USB port, low power consumption, power supplied by lithium battery and also can be supplied by the computer through the USB port when connected to the computer. NTC sensor, start up the recording function by key operation, recording cycle adjustable, alarm temperature upper and lower limit can be set. The data software possesses data analysis function, it lists files of type not only can show the data and draw the curve analyses graphs, but also can show alarm signal of the temperature exceeding point. The recorded data can be inquired, saved, printed and output in Word format. It is mainly used in locales such as refrigerator cars, deepfreeze, labs, greenhouses, storage for tobacco, bavterin and blood, workshops, hospital, GMP medicine workshops, agricultural seed cultivation, incubator, born, museum, archives, cultural relic, paper making, air-conditioner, etc. 

◆Temperature measuring range: External sensor:-40℃～70℃
Internal sensor: -30℃～50℃
◆Accuracy: ±0.5℃ when at -20℃～20℃; at other range, ±1℃  ◆Resolution:0.1
◆Recording cycle: 2Seconds～24Hours continuously set, or automatically 
dustributed as per recording duration      ◆Sensor: NTC   
◆Real-time transfers: the Interval time (10s~ 24h) adjustable
◆Recording capacity: RC-30: 3900 points RC-30A: 8000 points 
RC-30B: 16000 points
◆Applicable environment: Temperature: -30℃~50℃ Humidity:15%~85%
◆Data output: Connect the computer with the USB port to transfer data
◆ Safe level:IP65
halogen leak detector
[image: image116.jpg]


HLD-200 halogen leak detector is a newly high performance intelligent halogen leak detector. The new shell designed with LED displaying is elegant, easily-carried, easy operation, visual and clear display, etc. 
Visual display and single light diode displays the leak degree in large range in the form of "gradually lights the light".
Providing 6 levels of sensitivity to set the real-time cycle adjustment
Easy operation with pushbutton. Battery checked function with tricolor display
Detect all kinds of halogenated refrigerants.
The high effective true mechanical pumping provides positive airflow through sensing tip, which can improve the sensitivity and response speed.

Applicable areas: 
1 The leak-detect in vocation of freeze, refrigeration, and air-conditioner
2 The leak-detect for air-conditioner in the car
3 It will respond to all halogen gases (including Chlorine and Fluorine). Including CFCS e.g. R12, R11, R500, R503 etc.  HCFCS e.g. R22, R123, R124, R502 etc
HFCS e.g. R134a, R404a. R125 etc.  And other mixtures, e.g. AZ-50, HP62, MP-39, etc.
4 Detect Ethylene Oxide gas leaks in hospital sterilizing equipment (it will detect the homogenate carrier gas.
5 Detect SF-6 in high voltage circuit breaks
6 Detect most gases including Chlorine,  Fluorine and Bromine (halogen gas)
7 Detect cleaning agents used in dry cleaning applications such as perchloroethyl.
8 Detect halogen gases in fire-extinguishing system.
Power supply: 3VDC (2XAA battery)   Max. Sensitivity: R12, R22, R134a 
are certified to 7g/yr  Probe life: about 30h

[image: image117.jpg]


CPU-C halogen leak detector

As a practical product of the CPU family serial, the comparability between quality and price of CPU-C is high. The product deals with the signals by using the microcomputer and because of its powerful digital ability to process, it can better control its wire system and the signal from the sensor, even the tiny change of the signalcan be detected. 
● Displaying quantity of the leak with single color
● Seven-level sensitivity adjustable   ● Trigger key board
● Real-time sensitivity adjustable     ● Battery voltage display
● Ability to all the halogen gases      ● 14-inch (35.5cn) soft stainless probe 
Application Range: 
● Halogen check for lines of freezing, refrigeration and air-conditioning
● Leak check for Serial of vehicle-use air conditioners 
● Leak for other systems and storage/recovery vessel. The product takes effect to all the halogenating refrigeratingmedium with chlorine and fluorine included, which include but are not limited to: 
CFCs e.g. R12, R11, R500, R503 etc.  HCFCs e.g. R22, R123, R124, R502 etc.
HFCs e.g. R134a, R404a, R125 etc.  It can also detect other mixers such as AZ-50, HP62, MP39, etc. 
● Detect Ethylene Oxide gas leaks in hospital sterilizing equipment(it will detect the homogenate carrier gas).
● Detect SF-6 in high voltage circuit breakers.
● Detect most gases that include Chlorine, Fluorine and Bromine (halogen gases).
● Detect cleaning agents used in dry-cleaning equipment such as carbon tetrachloride.
● Detect perchloroethyl in fire extinguishing system. 
Parameters:  Power supply: DC3V, Size 2 Alkaline batteries(2)    Maximum sensitivity: R12, R22 and 134a have got approved.14g/y    Limit sensitivity: fitting for halogenating refrigeratingmedium 3g/yr          Sensor life expectancy: about 20 hours
 Battery life expectancy: About 30 hours under normal condition
 Mode: Continous and no limit    Reaction time: Instantaneous
 Warm-up time: 6 seconds        Reset time: 2 seconds        Weight: 560g
 Size:22.9cm×6.5cm×6.5cm      Length of the probe: 35.5cm 
[image: image118.jpg]


HLD-100
Brief Information
HLD-100 halogen leak detector, as the exquisite unit of our company with its feature of higher performance versa lower price, has powerful function and high sensitivity, and is stable and easy to operate.
Features:
Detects all kinds of halogenated refrigerants.
Single color LED display with 6-level leak alarm.
Tricolor display of battery voltage.
RESET time sensitivity adjustment.
Real time sensitivity adjustment.
Adopts quality sensors that can detect slightly leaked halogen gases.
14 inches (35.5cm) flexible stainless steel probe.
Applications:
HLD-100 halogen leak detector can also be used in:
Other systems and storage/recovery containers The unit responds to all haloge-nated (with Chlorine and Fluorine included) refrigerants. This includes, but is not limited to:
CFCs R12, R11, R500, R503etc.   HCFCs R22, R123, R124, R502etc.
HFCs R34a, R404a, R125etc
Detect Ethylene Oxide gas leaks in hospital sterilizing equipment(it will detect the halogenated carrier gas)
Detect SF-6 in high voltage circuit breakers.
Detect most gases that contain Chlorine, Fluorine, and Bromine (halogen gases)
Detect cleaning agents used in dry cleaning applications such as perchloroethyl.
Detects halogen gases in fire-extinguishing system. 
Specification and Parameter
Max Sensitivity:to halogenated refrigerants, 3gr/yr
Battery life:30 hours under normal condition
Working temperature:0℃∽-52℃    Working Mode:Continuous and no limit 
Reaction time :instant      Resetting time :2 seconds
Warm-up time :about 6 seconds     Size: 22.9cm×6.5cm×6.5cm
Power Supply:3V DV (2 quality batteries)    Probe length:35.5cm Gross Weight: 720G/PC 

Air quality monitor series
[image: image119.jpg]


Ozone + Temperature Monitor and Alarm
Model F09E-O3 Series
        Real time monitoring ambiance ozone level
        Preset two stages alarm points for ozone measurement
        LCD display with three color backlight
        Provide up to 1x analog outputs and 2xrelay outputs
        RS485 communication Interface
        High performance, low price
    Features:
Design for real timemonitoring ambiance ozonelevel and temperature

Gentlest shape and convenient structure
Trusty quality with lower prices
Particular LCD display with three color backlights
LCD displays ozone level and temperaturemeasurements
Electrochemical ozone sensor with 0~5ppm (0~5mg/m3),high sensitivity
   Two stages alarm preset
   Both alarm way: buzzer alarm and backlight coloursswitch 
   Provide up to 0～10V analog output and 2 relay dry contact outputs
   Humidity measurement and display optional
   RS–485 communication interface, 15 KV antistatic protection
   Provide two easy methods for calibration and setup alarm points by end users: infrared remote controller and a software via RS485
[image: image120.jpg]


（Ozone Detector/Indicator）Indoor Ozone Indicator/ Controller
F2000TSM-O3 Series
         Real time detect and indicate indoor ozone level 
         Featured 6 LED indicator lights indicates different O3 levels 
         Five years lifetime
         Provide 1x dry contact output to control a fan or an O3 generator
         Provide RS485 communication interface to be connected with a PC or DDC/PLC
         The highest performance with the lowest price

 

F2000TSM-O3 is used to indicate environment ozone level. With its dry-contact of relay output, a fan or an O3 generator can be controlled turning-on/off when ambient O3 measurement reaches its pre-set point. 
 

F2000TSM-O3 can provide RS-485 communication interface with independent address, it can be connected with a PC or another control system to make management and control intelligently.   
 

Features: 
       Wall mounting, real time detect O3 with measuring range as 10~1000ppb.

       With semiconductor ozone gas sensor inside. More than 5 years lifetime.

       Full time indicate O3 level, special design with 6 indicator lights to indicate different O3 levels. 

       Six different ozone range corresponds with different lights indicating. 

       The on/off output optional for control a fan or an O3 generator. 

       Four setting ozone level ranges can be selectable to control the relay output via a set of jumpers. 

· RS-485 communication interface optional with 15KV antistatic protection, independent address setting.
[image: image121.jpg]



CO2 Carbon Dioxide Monitor and Controller
F2000IAQ-CO2-30XX/50XX
       Multiple functions and high performance with low prices

       Wall mounting type and duct type selectable

       LCD display detecting both CO2 level and temperature, also relative humidity (optional) 

       NDIR infrared CO2 module inside with special ABC_Logic Self Calibration System. It makes the CO2 measurement more accurate and more reliable in use.

       15 years lifetime of CO2 sensor

       Microprocessor control, quick response, high precision

       Providing up to three 0~10V analog output or up to three relay dry-contact outputs   

       The analog output with two alternatives: linearized over full range output or PID control output
       Different control mode for delays can be selected by user’s application, for example for ventilation or for greenhouse or other applications. 

       Locale adjustable range of CO2: 0~20,000ppm or 0~50,000;

 adjustable range of temperature: 5~45℃；adjustable range of humidity：5～95%RH  

       RS-485 communication interface optional, 15KV antistatic protection, independent base address setting 

[image: image122.png]


CO2 Controller for Greenhouses
F2000IAQ-CO2-3003D
          Especially designed for agriculture equipments such as greenhouses, food and vegetable storages. Real-time detecting CO2 level, temperature and humidity with the local programmable control. 

          Wall mounting, LCD display

          Carbon dioxide sensor, temperature sensor and humidity sensor are internal. The three values can be apart set.
          Non-Dispersive Infrared Detector (NDIR) CO2 sensor, 15 years lifetime, CO2 setting range is selectable: 0~2000ppm / 0~20000ppm / 0~50000ppm

          Special ABC Logic with patented Self Calibration Algorithm makes the CO2 sensor used up to 15 years 

          Temperature setting range: 5~45℃
   Humidity setting range: 5～95%RH

          Provid three relays outputs to control a CO2  generator, a temperature device and a humidity devise or a ventilator.  

          Special photosensitive sensor detection can make the working mode of the CO2 generator changeover automatically in day and night.
          Provide brightness adjustment range to make day/night limit setting by end users.  
          RS-485 communication interface with 15KV antistatic protection makes the controller being connected with PC (option)

          Multiple functions, high performance, low price, make it praiseworthily.

Indoor air quality IAQ VOC monitors
F2000IAQ-VOC
[image: image123.jpg]



       Real time detecting indoor air quality with LCD display

       High sensitivity for VOCs and other indoor contaminative gases

       5~7 years long life 

       Also temperature detection and control

       Humidity detection/control optional

       Provide up to 1 analog output and 2 dry contact outputs

       Provide RS485 communication interface 

       Strong function, high performance, low price

 

IAQ is a comprehensive index, including room temperature, humidity, fresh air, and diverse low concentrations air contaminants. Monitoring IAQ is very important to guarantee healthy life and work.   
 
F2000IAQ-VOC is specially designed to detect indoor air quality in offices and home environments. Its internal gas sensor has high sensitivity not only to VOC's such as toluene emitted from wood finishing and construction products but also to other air contaminants which are emitted by cigarette smoke, ammonia and H2S. It’s also sensitive to carbon monoxide, alcohol, natural gas and smell from people’s body. So it is more suitable for monitoring IAQ than other sensors which one is only for one kind of gas.
 
F2000IAQ-VOC also can be used as a controller in ventilation system and AC system. 
 

Features: 
       Real time monitor ambiance air quality with a mix gas sensor 

       Japanese semiconductor gas sensor with 5~7 years long life

       Monitor temperature and optional relative humidity 

       LCD can display IAQ level and temperature, humidity(option), fan status etc. Makes reading and operating easy and accurate. 

       All models feature user-friendly setting buttons 

       Locale adjustable ranges are : IAQ 0~30ppm, temperature 5~45℃, humidity 5～95%RH

       RS-485 communication interface optional, 15KV antistatic protection, independent base address setting

       Up to 1x0~10V analog output and 2xrelay dry-contact outputs

       Two alternatives for the analog output : linearized over full range output or PID control output.

       The relays can be selected to control IAQ , temperature or humidity (programmable setting)

       Timer of turning-off function for the ventilator device from 0.5 to 12 hours.
       Low power consumption

[image: image124.jpg]



CO Carbon Monoxide Monitor
F2000IAQ-CO
        Real time detection and controlling ambiance carbon monoxide level

        Detection temperature and optional relative humidity

        Preset the 1st and 2nd alarm point for carbon monoxide measurement

        LCD display CO level, temperature and humidity at the same time

        Provide up to 1 analog signal output and 2 dry contact outputs 

        Provide RS485 communication Interface(optional) 

        High performance, low price 
 

Features: 

              Real time monitoring carbon monoxide level with range from 0 to 1000ppm

             Semiconductor sensor with 5 years long lifetime
              LCD can display CO, temperature and humidity, also ventilation device status etc.

              Full time monitoring CO level, even the slightest leak can be detected
         It can work as a alarm or controller of carbon monoxide, also as a transmitter

     Provide up to 0～10V analog output and 2 relay dry contact outputs
   Two alternatives for the analog output: linearized over full range output or PID control output

   Preset the first and the second alarm levels for measured carbon monoxide with a buzzer alarm

   RS–485 communication interface, 15 KV antistatic protection, independent address setup

Applications: 

Carbon monoxide is a deleterious gas with colorless and odorless character , which could be absorbed by lung quickly, the speed rate of combination of CO and hemoglobin more than 250 times with oxygen, then stops oxygen circulation around the body; which have big character of heavy toxicity, so CO poisoning have became a big problem around the world. 

 

F2000IAQ-CO is used to monitor room CO level and temperature as well as relative humidity. With one 0~10VDC analog output and two dry-contact of relay outputs, F2000IAQ-CO can be as a programmable logical controller to direct control a ventilation system, and also as a transmitter of CO level to connect with a DDC/PLC.  

 

F2000IAQ-CO can provide RS-485 communication interface to connect it with a PC or another control system, so make each room ventilation system be managed and controlled intelligently. It’s as a prevent monitor of CO potential leak and a controller of ventilation system in bellows application.   

       Human environment, Industrial environment

       Underground parking lot, maintenance garage

       Freezing machine room and other places where air quality is easy to worsen
[image: image125.jpg]



HCHO MONITOR WITH ALARM

1. Formaldehyde ( HCHO) detection range: 0 ~ 10ppm 
2. Tri-color backlit LCD display alarm can be pre-set alarm 2 points 
3. All the way analog output (0,2 ~ 10V / 4 ~ 20mA) 
4. 2nd Rd dry contact output 
5. Buzzer built-in alarm 
6. BACnet protocol based on the RS485 interface 
7.24 DC or AC power supply
[image: image126.jpg]g

5 -

8 g

= g
=




1. NO2 detection range: 0 ~ 20ppm 
2. Tri-color backlit LCD display alarm, 2 points alarm setting
3. output (0,2 ~ 10V / 4 ~ 20mA) 
4. two way output 
5. Buzzer built-in alarm 
6. BACnet protocol RS485 interface 
7.24 DC or AC power supply

[image: image127.jpg]


Oxygen analyzers with alarm

Measuring range: 0—100%, 0-25%, and 0-1%
This gauge have three kind of range, you can select one range according to conditions. 

Accuracy:  +0.1%

Large LED screen 

Power supply: 6V battery, can work continuously for 300 hours.

Size: 200x95x35 mm

Weight :  150g.

Alarm range: can be set manually. For example, if you select 10—30%, then the alarm will make voice when the oxygen is under 10% or over 30%

Resolution: 0.01%

Can be used in mining, ship, chemical, educational, environmental pharmaceutical field.

[image: image128.jpg]


Portable Methane CH4 Detection Alarm
Model:JCB4   Details: Mine intelligent portable watts for the seizure 
Application of places: with individual coal mine belt. Underground gas for measuring and testing equipment standing; can be used in more humid dark dust, and other places. Detection of hydrocarbon compounds flammable gas. 


★ a high level of security to poor environmental conditions; 
★ has instructed the police in various forms: digital, sound and light, vibration, light; 
★ alarm button can be arbitrarily through regulation; 
★ can choose to target portfolio of-charge; 
★ built-in advanced single-chip micro-computer; 
★ optional leather or metal Kua use protection; 
★ replace the sensor makes it easy; 
★ time display settings and features; 
★ battery voltage display; 
★ automatic zero and calibration; 
	Order Model 
	JCB4 (Smart) 

	Measuring principle 
	catalytic combustion sensor 

	Measurement 
	CH4：0~4.00%CH4
Show time: 24-hour 

	Measurement accuracy 
	CH4：±0. 1%CH4or±10%

	Resolution 
	0.01%CH4

	Alarm 
	alarm can be set up at random adjustment 

	Time display
	 can be set 24-hour time 

	Sound and light alarm feature 
	multi-class multi-way sound and light warning alarm sound level 80 dB 

	Vibration has prompted alarm function 
	yes

	A battery voltage display 
	yes

	Automatic calibration function,
	yes

	Sound and light show 
	 big-screen alarm highlighted figures show

	Charging a row 
	over working hours 15:00 

	level of security 
	IP65

	Power 
	3.6 V rechargeable battery 

	Temperature 
	temperature range of 0 ~ 40 ℃ 

	Humidity 
	apply to a very humid environment 

	Size / weight 
	100（L）×56（W）×28（H）mm/200g

	Explosion type 
	ibdI (150 ℃) Earthquake antistatic ABS cases 

	Host standard equipment, chargers, leather, calibration enclosures, brochures
	


Water quality analysis meter, single element.

Each model can test one element contained in water.
	
	Item No.    element
	Standard/method, testing time, devices included
	Range accuracy

	[image: image36.png]GDYS-1015B.
AR

g




	GDYS-101SB     Colority
	GB/T5750.4-2006

Meter, Colorimetric device


	5-200PCU

 accuracy5%

	[image: image37.png]



	GDYS-101SC      O3
	DPD  3Minutes

Meter, 
Colorimetric device, 

reagent: 50 times
	0.05-2.50mg/L

 accuracy3%

	
	GDYS-101SE     CLO2
	DPD  3Minutes

Meter, 
Colorimetric device, 

reagent: 50 times
	 0.01 -3.00mg/L

 accuracy5%

	
	GDYS-101SF     Fluoride
	GB/T5750.5-2006  30minutes

Meter, 
Colorimetric device, 

reagent: 50 times
	 0.01-1.00mg/L

 accuracy5%

	
	GDYS-101SG     Cr6+
	GB5750.6-2006  3minutes

Meter, 
Colorimetric device,

reagent: 50 times
	 0.01-1.00mg/L

 accuracy5%

	
	GDYS-101SI      Ca 
	CPPI  3 minutes

Meter, 
Colorimetric device, 

reagent: 50 times
	 0.10-2.00mg/L

 accuracy3%

	
	GDYS-101SL      Total P
	GB11906-89 20 minutes

Meter, 
Colorimetric device, 

Digestion thermostat device,

Sample pretreatment device

reagent: 50 times
	 0.02-1.00mg/L

 accuracy5%

	
	GDYS-101SM       Mn
	GB/T5750.6-2006  10 minutes Meter, 
Colorimetric device, 

reagent: 50 times
	 0.50-4.00mg/L

 accuracy5%

	[image: image38.png]



	GDYS-101SN       total cl, residual cl
	GB/T5750.11-2006 3minutes

Meter, 
Colorimetric device, 

reagent: 50 times
	 0.05-9.99mg/L

 accuracy5%

	
	GDYS-101SN2      residual cl
	3minutes

Meter, 
Colorimetric device, 

reagent: 50 times
	 0.05-5.00mg/L

 accuracy5%

	
	GDYS-101SR   Dissolved oxygen 

	DL 3minutes 

Meter, 

pretreatment device, 

reagent 30 times
	 0.1-10.0mg/L

 accuracy5%

	
	GDYS-101ST       Fe
	GB/T5750.6-2006 30minutes

Meter, 

pretreatment device, 

reagent 50 times
	  0.1-3.0mg/L

 accuracy 5%

	
	GDYS-101SV      sulfide
	GB/T5750.6-2006 10minutes

Meter, 

pretreatment device, 

reagent 50 times
	 0.02-1.00mg/L

 accuracy5%

	
	GDYS-101SW      Al
	10minutes

Meter, 

pretreatment device, 

reagent 50 times
	 0.01-1.00mg/L

 accuracy5%

	
	GDYS-101SY    total cl, residual cl
	GB/T5750.11-2006 3minutes

Meter, 
Colorimetric device, 

reagent: 50 times
	 0.05-9.99mg/L

 accuracy5%

	
	GDYS-101SZ       Turbidity
	GB/T5750.4-2006  3minutes

Meter, 
Colorimetric device,
	 5-400NTU

 accuracy5%

	
[image: image39.png]



	GDYS-101SZ2       Turbidity
	GB/T5750.4-2006  3minutes

Meter, 
Colorimetric device,
	 0.5-60.0NTU

 accuracy5%

	[image: image40.png]



	GDYS-102SB    Total hardness
	5minutes

Meter, 
Colorimetric device,

reagent:50 times
	 25-750.0mg/L

 accuracy5%

	
	GDYS-102SC     H2O2
	10minutes

Meter, 
Colorimetric device,

reagent:50 times
	 5.0-300.0mg/L

 accuracy5%

	
	GDYS-102SD      HCHO
	45minutes

Meter, 
Colorimetric device,

reagent:50 times
	 0.01-1.00mg/L

 accuracy5%

	[image: image41.png]



	GDYS-102SG       Salinity
	meter
	 0.2-28.0%

 accuracy±2%

	[image: image42.png]GDYS-1025H
BREEL

&




	GDYS-102SH           Sulfate
	5minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 2.0-20.0mg/L

 accuracy5%

	
	GDYS-102SJ           Urea
	50minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.5-10.0mg/L

 accuracy5%

	[image: image43.png]DYs-1025L

RihH CRERES)





	GDYS-102SL          Chloride
	5minutes 

Titration device
Reagent: 50 times
	 20-500.0mg/L

 accuracy5%

	[image: image44.png]



	GDYS-102SL2          Chloride
	5minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.5-4.0mg/L

 accuracy5%

	
	GDYS-102SM       Peroxyacetic acid
	1minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 1.0-10.0mg/L

 accuracy5%

	
	GDYS-102SN         Cu
	3minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.05-1.00mg/L

 accuracy5%

	
	GDYS-102SO           Zn
	5minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.05-3.00mg/L

 accuracy5%

	
	GDYS-102SP          B
	40minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.3-15.0mg/L

 accuracy5%

	
	GDYS-102SQ         Cyanide
	30minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.03-1.00mg/L

 accuracy5%

	
	GDYS-102SQ2         CClN
	5minutes

Meter, 
Colorimetric device, 

reagent:50 times
	0.03～0.50mg/L（以CN计）

 accuracy5%

	
	GDYS-102SR           SiO2
	20minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 1.0-20.0mg/L

 accuracy5%

	
	GDYS-102ST           K
	20minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 30-100.0mg/L

 accuracy5%

	
	GDYS-102ST2          K
	Meter, 
Colorimetric device, 

reagent:50 times
	 1.0-20.0mg/L

 accuracy5%

	
	GDYS-102SU            Mo
	40minutes

Meter, Colorimetric device, reagent:50 times
	 0.01-1.00mg/L 

 accuracy5%

	
	GDYS-102SV           Hg
	10minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.1-0.5mg/L

 accuracy5%

	
	GDYS-102SW           Ag
	30minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.05-1.00mg/L

 accuracy5%

	
	GDYS-102SX       　Cobalt Co
	30minutes

Meter, Colorimetric device, reagent:50 times
	 0.01-0.50mg/L

 accuracy5%

	
	GDYS-102SY           Phosphate
	15minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.1-1.0mg/L 

 accuracy5%

	
	GDYS-102SZ2          Ni
	Meter, 
Colorimetric device, 

reagent:50 times
	 0.05-1.00mg/L 

 accuracy5%

	[image: image45.png]GDYS-1035A2
B

g




	GDYS-103SA2           As
	60minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.006-1.000mg/L 
 accuracy5%

	
	GDYS-103SB2           Cd
	Meter, 
Colorimetric device, 

reagent:50 times
	 0.01-1.00mg/L

 accuracy5%

	
	GDYS-103SC              Pb
	5minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.5-3.0mg/L

 accuracy5%

	
	GDYS-103SE              Mg
	5minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.2-20.0mg/L

 accuracy5%

	
[image: image46.png]6DYS-10351

SWENER





 EMBED PBrush  [image: image47.png]6DYS-10351

SWENER




	GDYS-103SI         Total Alkalinity
	10 minutes 

Titration device, 

reagent: 50 times
	 10-1000.0mg/L

 accuracy5%

	
	GDYS－103SM        Br
	10minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.1-3.0mg/L

 accuracy5%

	
	GDYS－103SN      Hydrogen sulfide   H2-S
	20minutes

Meter, 
Colorimetric device,

sample pretreatment device, reagent:50 times
	 0.01-1.00mg/L

 accuracy5%

	
	GDYS－103SO          Pd
	10minutes

Meter, Colorimetric device, reagent:50 times
	 0.5-1.0mg/L

 accuracy5%

	
	GDYS-103SP            Se
	20minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 0.5-1.0mg/L

 accuracy5%

	
	GDYS－103SQ           Ba
	10minutes

Meter, 
Colorimetric device, 

reagent:50 times
	 1.0-7.0mg/L

 accuracy5%

	
	GDYS－103SR      Cyanuric acid
	15minutes

Meter, Colorimetric device, reagent:50 times
	 5.0-30.0mg/L

 accuracy5%

	
	GDYS-103SW       C6H6
	Meter, 
Colorimetric device, 

reagent:50 times
	 0.25-2.50mg/L

 accuracy10%

	
	GDYS-103SX         Cr3+
	Meter, 
Colorimetric device, 

reagent:50 times
	 5.0-30.0mg/L

 accuracy5%

	
	GDYS-103SY         TOC
	Meter, Colorimetric device, reagent:50 times
	 0.5-30.0mg/L    （C）

 accuracy5%

	
	GDYS-103SZ          Be
	Meter, 
Colorimetric device, 

reagent:50 times
	 0.001-0.100mg/L

 accuracy5%

	
[image: image48.png]GDYS-101502
AFIERRAEL

g




	GDYS-101SQ    COD


	Sealed backflow Digesting Colorimetric method

20 minutes

Meter, 
Digestion thermostat device , Colorimetric device, 

sample pretreatment device, reagent:50 times
	10—500mg/L accuracy5%

	
	GDYS-101SQ2    COD


	Sealed backflow Digesting Colorimetric method

60 minutes

Meter, 
cup, 

Colorimetric device, 

sample pretreatment device, reagent:50 times
	30—300mg/L accuracy5%


[image: image129.jpg]DIGITAL METER

DATA HOLD

MC-7806
NOISTURE METER




KL-009(I) Pocket-size PH meter  

This is a great tool for when you need to test your pond or aquarium pH. 

It is a fast and accurate meter. What you save in buying drop type test kits

will more than pay for this meter! And those kits are not usually very accurate. You will never have to guess which color the ph Strips are closest to! It is fast and simple to use. Just dip it in the pond, aquarium or swimming pool and read the reading on the digital display in just a few seconds This unit comes in sturdy clear plastic case with calibration screwdriver and users guide! 

This PH Meter is ideal for Aquariums, Aquacultures, Fish Hatcheries, 

Food Processing, Laboratory, Paper Industry, 

Swimming Pool, School & colleges. 

Technical Specification:
	Model 
	KL-009(I) 
	KL-009(I)A 
	KL-009(I)B 

	Measuring range 
	0.0~14.0pH

	Accuracy 
	±0.2PH
±0.1PH(@20℃)
	±0.1PH
	±0.2PH
±0.1PH(@20℃)

	Resolution 
	0.1PH

	Operating Temperature 
	0℃～50℃ 

	Temperature Compensation 
	0～50℃ 

	Plug 
	Fixed Electrode 
	Fixed Electrode 
	BNC

	Power Supply 
	3×1.5V(AG13)
	4×1.5V(AG13)
	4×1.5V(AG13)

	Dimensions 
	150mm×29mm×20mm

	Weight 
	51g
	70g


	KL-010 Folding Three In One pH Tester KL-010 folding ph meter of a unique design and excellent, very convenient to use. ?user-friendly regulation measured various angles of liquid measurement and portability, and automatic calibration in the measurement of temperature changes due to the error. Instruments measured by the ambient temperature, relative humidity and PH value from the LCD screen can be directly read out.

	

	Measuring range 

PH

0.00～14.00PH 

℃ 

－5～50℃ 

RH

10%～99%RH 

Resolution 

PH

0.01PH 

℃ 

0.1℃ 

RH

1%RH 

Accuracy 

PH

±0.1PH 

℃ 

±1℃ 

RH

±5%RH

Automatic Temperature Compensation 

0℃～50℃ 

Power Supply 

4×1.5V(AG13)

Operating Temperature 

0℃～50℃ 

Calibration

Manual 1 point 

Dimensions 

156mm×55mm×23mm

Weight 

95g

[image: image49.jpg]






	[image: image50.jpg]




	 


	Dimensions: 185mm(L)×82mm(W)×45mm(H)
 Weight: 570g



	
	KL-013 Portable pH/mV/Temperature Meter 

Technical Specification 

 

Range 

pH

0.00~14.00

mV

-1999~1999

℃ 

0~100 ℃ 

Resolution

pH

0.01pH

mV

1.0mV

℃ 

0.1 ℃ 

Accuracy

pH

±0.01pH

mV

±n×1.0%±1digit

℃ 

±0.4 ℃ 

KL-013 is a portable pH meter designed to be rugged and easy-to-use, yet be reliable and practical.
It is ideal for education and for measurements in the field.

Simple pH calibration is performed manually through 2 trimmers. Measurements are automatically compensated for variations in temperature. 




 

	KL-016 Bench pH/mV/Temperature Meter(Backlit display)

	KL-016 is an accurate electrochemical apparatus which is used to measure the acidity and basicity, electrode potential and the temperature of solutions. It is an accurate secondary instrument with Backlit display. It can be used with various ion selective electrodes to measure cell potential of electrodes in solution. The negative logarithm of the ionic activity in solution can be read directly. The instrument can also be used as an accurate pH meter and an accurate mV meter with high input impedance According to Nernst equation combined with micro computer technology, the apparatus carries out real timely monitoring and data treatment. Then the acidity result can be measured.

	[image: image51.jpg]



Technical Specification:
Model 

KL-016 

Measuring range

PH

0.00~14.00PH

mV

0~±1999mV

Temp

0~100℃ 

Accuracy

PH

±0.01pH

mV

±0.1℅F·S±1digit

Temp

±0.4℃ 

Resolution

PH

0.01pH

mV

1mV

Temp

0.1℃ 

Environment

Temperature:0℃~50℃ Humidity:≤95℅

Display

4-digital LCD

Power Supply

AC110VorAC220V50/60Hz

Input Impedance

1012 Ohm 

Dimensions

240mm×185mm×100mm

Weight

660g



	The handy key board for the selection of the various functions. The possibility of automatically correcting errors in measurement due to temperature and the extreme simplicity of regulation all serve to permit a rapid and reliable execution of calibration and measurement.
The display on the front panel reveals the temperature. PH or mV reading taken by the instrument. The instrument comes supplied with a combined PH electrode and a probe for the measurement and compensation of the temperature.


	KL-025 Online PH Monitor

	To suffice the specific needs of users, require low price, easy maintenance, for continuous monitoring and display, do not control, and therefore introduced the mini-series. Applied aquarium, aquaculture, and so on.

	Technical Specification:

	Range

0.00-14.00PH

Resolution

0.01PH

Accuracy

±0.1pH

Power Supply

DC 6V(include), with adaptor

Operating Temperature 

0℃～50℃ 

Dimensions

60mm×55mm×23mm

Weight

75g 

[image: image52.jpg]






	KL-025M Online PH Monitor

	Digital display, an external transformer, to 24 hours continuous measurement to avoid battery power caused by low reading error.

	Technical Specification: 

	Range

0.00-14.00PH 



Resolution

0.01PH

Accuracy

±0.1PH(│T1-T2│≤5℃)
±0.2PH(│T1-T2│＞5℃)
(T1--The environment temperature, T2--The test liquid temperature)  

Power Supply

DC 6V(include), with adaptor

Operating Temperature 

0℃～50℃ 

Dimensions

112mm×86mm×57mm

Weight

345g 



	 


	KL-RO22 Dual TDS Meter


	Technical Specification 


	
Model 
KL-RO22 

Measuring Range

0～1999ppm

Resolution

1ppm

Accuracy

±2%Full Scale

Automatic Temperature Compensation

0～50℃ 

Power Supply

4×1.5V（AG13） 

Dimensions

60mm×55mm×23mm

Weight

98g 



	
	[image: image54.jpg]





	KL-1386 Conductivity and temperature meter

	
Technical Specification:


 

μs/cm
Temp(℃
Measuring range

0~1999μs/cm

-50℃~70℃
Resolution

1μs/cm 

0.1℃
Accuracy

±2℅F·S

±1℃
Display

4-digital LCD

Environment

Humidity:≤95℅

Automatic Temperature Compensation

0℃~50℃
Power Supply

4×1.5V(AG13)

Dimensions

170×36×23(mm3)

Weight

98g




	KL-1385 EC/CF/TDS Waterproof Conductivity Meter

	  1. Large and easy-to-read LCD 
  2. Waterproof design to withstand wet environment 
  3. Measures 3 parameters including EC,CF,TDS using one electrode 
  4. Hold Function—Saves measurements for convenient reading and recording

Technical Specification:
[image: image130.jpg]



Model
KL-1385 EC/CF/TDS
Measuring range

EC

0.00~19.99EC

CF

0.0~199CF

TDS

10~19990ppm

Resolution

EC

0.01EC

CF

0.1CF

TDS

10ppm

Accuracy

±2℅F·S

Operating Temperature

0℃~50℃
Automatic Temperature Compensation

0℃~50℃
Power Supply

4×1.5V(AG13)

Dimensions

185×38×38(mm3)



	 

	
KL-139 TDS Tester 
Technical Specification:

1.Measuring range:0-1999 PPm(mg/L)
2.Resolution: 1 PPm(mg/L
3.Accuracy: ±2%F.S 
4.Operating Temperature: 0℃- 50℃ 
5.Power Supply: 2×3V（CR2032 Battery） 
6.Environment: Humidity: ≤95%
7.Display:4-digital LCD
8.Weight:46g

9.Dimension:150mm×27mm×20mm
Pocket sized and feather-weight for portable use in a large number of applications including Production and drinking of pure water,Cleanness of swimming pool water,Food processing,Hospitals and medical products,Aquatic cultivation,Boiler water,Households and offices,Aquarium water,Teaching of physics and chemistry,Electroplating water,Cooling towers,Laboratories,Ionized water and water quality testing etc. 


	KL-1393A/B TDS Tester

	[image: image55.png]KL-1393A





 INCLUDEPICTURE "http://www.kelilong.com/images/KL-1393b.gif" \* MERGEFORMATINET [image: image56.png]KL-13938





Technical Specification:
Model
KL-1393A
KL-1393B
Measuring range

0~19.99PPt

Accuracy

±2℅F·S

Resolution

0.01PPt

Display

4-digital LCD

Environment

Humidity≤95℅

Automatic Temperature Compensation

0℃~50℃
Power Supply

4×1.5V(AG13)

Dimensions

165×26×26(mm3)

60×55×23(mm3)

Weight

63g

60g




	DDS-17 Bench-top Conductivity Meter
Technical Specification


	Model 
	DDS-17
	[image: image57.jpg]




	Measuring Range

	0~1.999x105us/cm

	
	Accuracy

	≤±1.5%F.S±1 digits 

	
	Temperature Compensation

	15～35℃
	
	Power Supply

	220V 50Hz 

	
	Environment 

	Temperature:5~40℃ Humidity<85℅

	
	Dimensions

	240mm×158mm×100mm 

	
	Weight

	950g 

	

	


 

	KL-018 Industrial on-line PH Controller 


	Technical Specification: 

Model
KL-018
Measuring range

0.00~14.00PH

Accuracy

±0.02PH

Resolution

0.01PH

Output current

4-20mA

Automatic temperature compensation

0~100℃
Warning accuracy

±0.02PH

Environment

Temperature:0~50℃ Humidity<95℅

Display

4-digital LED

Input Impedance

1012Ω

Power Supply

220V±10℅ 50Hz±2℅

Dimensions

96×96×160(mm3)

Weight

950g

 
	[image: image58.jpg]





	KL-019 Industrial On-line ORP Controller 


	Technical Specification:
Model
KL-019
Measuring range

0~±1999mV

Accuracy

±(0.1℅+2 digits)after calibration

Resolution

1mV

Output current

4-20Ma(max charge:50Ω)

Relay contact

two 220V5A

Environment

Temperature:0~50℃ Humidity<95℅

Display

4-digital LED

Input Impedance

1012Ω

Power Supply

110Vor220V±10℅50/60Hz±5℅

Dimensions

96×96×160(mm3)

Weight

950g

 
	[image: image59.jpg]



  KL-019


	KL-201 Digital pH Controller


	Technical Specification:
Model
KL-201
Measuring range

0.00~14.00PH

Accuracy

±(0.1%+2 digits) after calibration

Resolution

0.01PH 

Set Range

3.50～10.50PH

Environment

Temperature:0~50℃ Humidity<95℅

Power Supply

220V±10℅ 50Hz±2℅

Dimensions

150mm×85mm×40mm

Weight

580g

Model
KL-201W(waterproof）
Measuring range

0.00~14.00PH

Accuracy

±(0.1%+2 digits) after calibration

Resolution

0.01PH 

Set Range

3.50～10.50PH

Environment

Temperature:0~50℃ Humidity<95℅

Power Supply

220V±10℅ 50Hz±2℅

Dimensions

165mmx158mmx121mm

Weight

580g

 
	[image: image60.jpg]



KL-201
[image: image61.jpg]





	KL-203 Digital pH/ORP Controller


	Technical Specification:
Model
KL-203
Measuring range

PH

0.00~14.00PH

ORP

0~±1999mV

Accuracy

PH

±(0.1%+2 digits) after calibration

ORP

±5 mV

Resolution

PH

0.01PH

ORP

1mV

Set Range

PH

3.50～10.50PH

ORP

0~1000mV

Environment

Temperature:0~50℃ Humidity<95℅

Power Supply

220V±10℅ 50Hz±2℅

Dimensions

150mm×85mm×40mm

 
	[image: image62.jpg]BBS”




KL


	KL-206 Digital ORP Controller


	Technical Specification:
Model
KL-206
Measuring range

0~±1999mV

Accuracy

±5 mV

Resolution

1mV

Set Range

-500～500mV

Environment

Temperature:0~50℃ Humidity<95℅

Power Supply

220V±10℅ 50Hz±2℅

Dimensions

150mm×85mm×40mm

Weight

580g

 
	[image: image63.jpg]



KL-206


	KL-208 Digital Conductivity Controller


	Technical Specification:
Model
KL-208
Measuring range

0~1999us/cm, 0~199.9mS

Accuracy

±(1.5%+2 digits) after calibration

Resolution

1us, 0.1mS

Set Range

0~1000us, 0~100.0mS

Environment

Temperature:0~50℃ Humidity<95℅

Power Supply

220V±10℅ 50Hz±2℅

Dimensions

150mm×85mm×40mm

 
	[image: image64.jpg]1085°




KL-208


	KL-233 LEVEL CONTROLLER

	Technical Specification:

Model 

KL-233 

Power Supply 

AC 220V 50Hz 

Environment 

Temperature: 0～50℃, Humidity＜95% 

Power Consumption 

2 watts 

Dimensions 

150mm×85mm×42mm 

Weight 

690g 



	
	

	
	[image: image65.jpg]%





KL233

	
The electronic level controller with 2 sensors will automate aquarium water top off. Since safety is our number one concern, we include two float switch sensors with our electronic water level controller. The first float switch sensor triggers the feed pump (sold separately) to maintain the desire water level. The second float switch sensor ensures dependability and offers overflow protection. Our water level controller can also be used to protect pump from running dry. It can be utilized in three ways :
1.In this mode the power supply will turn on if the water level in the sump is low AND there is enough water in the storage tank. The power supply will turn off if the water level in the sump is high AND there is not enough water in the storage tank. 
(View Operation diagram, MODE A-1)
With this set up the power supply will turn on as soon as the water level in the sump drops below the set level. The power supply will turn off if the water level in the sump is high the set level. 
(View Operation diagram, MODE A-2) 
2. The power supply will turn on when the level falls below the minimal level of float sensor1 and will turn off when water rises the set point of the flow sensor1. The float sensor2 acts as a backup sensor in the event the float sensor1 is stuck. The level controller will not allow the power supply to turn on if the water level in the sump reaches the maximum level of float sensor2.
(view Operation diagram, MODE B)
3. Immerse the sensor1 and sensor2 in the measured solution(sump).With this set up the power supply will turn on when both sensors detected that the water level is below the minimum level and stop only when the water rises the maximum level of both sensor.
(View Operation diagram, MODE C)




	[image: image66.png]



                      KL-233T LEVEL CONTROLLER
                     (with temperature display)
Technical Specification
Model
KL-233T 

Temp Range 

0～80℃ 

Resolution

0.1℃ 

Accuracy

±1℃
Environment

Temperature: 0～50℃, 
Humidity＜95%

Power Supply

AC 220V 50Hz

Dimensions

150mm×85mm×42mm

Weight

690g 

[image: image67.jpg]








	Hand Held Refractometer


	·The Hand Held Refractometers are specially designed for measuring the concentration of many kinds of solution listed as following: Juices、Beverages、Honey、 Salt water、Brine、Cleaning fluid、battery fluid、Antifreeze and Industrial fluids etc. And they can also test for the proportion of the water-soluble solution. They can be easily used and they are competitive in price. You only need to drop some water on the prism and then make it towards to the sunlight. Then the reading of the concentration will appear. And ATC means automatic temperature compensation.
Brix 
Salinity 
Clinical Protein 
Battery/Antifreeze/Cleaning Fluid 
Alcohol, Wine 
°OE Tester
	[image: image68.jpg]





	


[image: image69.jpg]



S22PC VISIBLE SPECTROPHOTOMETER

Display Mode: 4 digits LED
Lamp: Halogen-Tungsten Lamp 
Interface: RS232 Serial & parallel
Measurement: 370×320×190mm
Weight: 9.5Kg

Features
▲Curny-terner configuration diffraction grating monochromator, Aspherical light source optics & Precise grid, whole aluminum metal alloy die-castings. 
▲Pre-aligned lamp and spectral engery correction system.
▲Simple & clear keyboard operation is convenient to realize auto 0% & 100% adjustment and error-free T/A transformation.
▲Factor setting & direct concentration readout functions.
▲Serial & parallel interface,S22PC data processing software package & serial printer are spare parts.
▲Spacious sample compartment, 4 position cell rack, adaptable for 1-5 cm optical path rectangular cells.

Specificatios
Wavelength Range:　　　　　　   340-1000nm
Wavelength Accuracy:　　　　　   2 nm
Wavelength Reproducibility:　　　1 nm
Band width:　　　　　　　　　　 6 nm
Photometric Accuracy:　　　　　 0.5%(T)(SRM930D)
Photometric Reproducibility:　　  0.3%(T)
Stray Light: 　　　　　　　　　　≤0.5%(T)
Scale: TRANS: 　　　　　　　　 0-199.9%
ABS:　　　　　　　　　　　　　-0.3-2.999
FACT: 　　　　　　　　　　　　1-9999
CONC:　　　　　　　　　　　　0-9999

S22PC data processing software Features
MODE: T/A/ STANDARD CURVE/ QUANTITATION
DATA PRINT/OUTPUT/SAVE

Standard Package
1) S22pc spectrophotometer　　　　　　1 Set
2) 1 cm glass cuvette　　　　　　　　　 2 Cases
3) 1cm 4 position cuvette rack 　　　　　 1 PC. 
4) Power cable 　　　　　　　　　　　　1 PC.
5) Operation manual　　　　　　　　　   1 PC.
6) Certificate of quality checking 　　　　  1 PC.
7) Fuse (2A) 　　　　　　　　　　　　　 1 PC.

Optional Spare Parts and Accessories
1) Fuse (2A/3A)
2) Pre-aligned lamp
3) Glass cuvette 1 cm, 2 cm, 3 cm，5cm
4) 5 cm cuvette rack （suitable for 1-5cm cuvette）
5) Spectrophotometer data processing software package 
6) RS-232C serial cable
7) Praseodymium-Neodymium optical filter
� EMBED PBrush  ���








[image: image131.jpg]


[image: image132.jpg]microprocessor
DIGITAL METER

o))

46.5




[image: image133.jpg]MEMORY

Lo HT-6830




_1293881578

_1293881597

_1293882970

_1293881516

_1292228618

